## BOQ for tender
PROJECT: PROPOSED SINGLE STOREY BUILDING Customs Office and Accomodation, Ha. Uligamu
CLIENT: MALDIVES CUSTOMS SERVICES
Item | Description | Qty | Unit | Rate | Amount
BILL No: 01
PRELIMINARIES
1.1 | GENERAL NOTES
1 | Abbreviations
m - metre
Nos - numbers
m³ - cubic metre
m² - square metre
m - metre
kg - kilogram
incl - including
mm - millimetre
dia - diametre
SS - Staiinless Steel
GI - Galvinised Iron
1.2 | SITE MANAGEMENT COSTS
| Allow for all on and off site management costs including costs of foreman and assistants, temporary services, telephone, fax, hoardings, fences and similar items. | 1 | Item | 0 | 0
1.3 | TRANSPORTATION
| Providing transport for the raw materilas , machineries and tools that is required for the completion of the project. | 1 | item | 0 | 0
1.6 | CLEAN - UP
| Allow for clean up of completed works and site upon completion | 1 | Item | 0 | 0
BILL No: 01 - PRELIMINARIES
| TOTAL OF BILL No: 01 - Carried over to summary |  |  |  | 0
BILL No: 02
GROUND WORKS
2 | GENERAL
Rates shall include for; levelin, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and dispoding surplus soil
BILL No: 02 - GROUND WORKS
| TOTAL OF BILL No: 02 - Carried over to summary |  |  |  | 0
BILL No: 03
CONCRETE WORK
3.1 | GENERAL
(a) Rates shall include for: provision to place in position; casting of all required items and finishing after removal of formwork and additional concrete required to conform to structural and excavated tolerances.
(b) Rates shall include supply of all formwork item including form oil, timber, plywood, nails etc.
(c) Mix ratio for reinforced concrete shall be 1:2:3 unless otherwise specified and lean concrete shall be 1:3:6 by volume
3.2 | LEAN CONCRETE
Note: Quantity is measured to the edges of concrete members.
1 | Boundry wall | 1.5 | m³
0
BILL No: 03 - CONCRETE WORKS
| TOTAL OF BILL No: 03 - Carried over to summary |  |  |  | 0
BILL No: 04
MASONRY AND PLASTERING
4.1 | GENERAL
Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down reveals where necessary; and blocks, cutting or leaving holes and openings as recesses, building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames, temporary supports to openings. Providing approved quality mesh at joints between structaral members and masonry in the exterior walls.
4.2 | CEMENT BLOCK WORK
1 | (a) 150mm thick solid block wall, with dimentions (100x150x300mm)MCPI solid blocks, laid on and including 1:5 cement sand mortar, tie rods, compression gap filler, nylon'plastic mesh as specified and should be approved.
1 | External Walls | 144.13 | m² | 0 | 0
2 | Internal Walls | 152.01 | m² | 0 | 0
4 | Boundary Wall | 180.6 | m² | 0
within 20' to 20' Columns, 200mm x 200mm should be palced
4.3 | PLASTERING
1 | Boundary Wall | 324.72 | m² | 0
4.3.1 | External
Average 13mm thick cement plastering (made up of 2 layers, both layers being 12mm thick on external surfaces of walls and concrete surfaces with 1:4 cement mortar mix as specified including wire mesh at joints of concrete surfaces and masonry walls
2 | Boundary Wall below S/S perimeter fence | 50 | m² | 0 | 0
BILL No: 04 - MASONRY AND PLASTERING
| TOTAL OF BILL No: 04 - Carried over to summary |  |  |  | 0
BILL N0: 05
DOORS AND WINDOWS
5.1 | GENERAL
(a) Rates shall include for locks, latches, closures, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware. These materials should brass and of superior quality.
(b) Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boarding, framing, lining, fastenings and all fixings
(c) Rates shall include for painting timber doors
(d) All doors shall be in accordance with drawings and specification and all measurements shall be checked on site by the contractor before fabrication.
(e) The contractor shall submit shop drawings for all doors and windows, for approval before fabrication and proceeding with the works
5.2 | ROLLER SHUTTER DOOR UNITS
1 | Roller Shutter Door | 1 | Nos | 0 | 0
5.3 | DOOR UNITS
1 | D1 | 1 | Nos | 0 | 0
2 | D2 | 14 | Nos | 0 | 0
3 | D2A | 1 | Nos | 0 | 0
4 | D2B | 1 | Nos | 0 | 0
5 | D3 | 4 | Nos | 0 | 0
6 | D4 | 2 | Nos | 0 | 0
5.4 | WINDOW UNITS
1 | W1 | 6 | Nos | 0 | 0
2 | W2 | 13 | Nos | 0 | 0
3 | W3 | 1 | Nos | 0 | 0
4 | W4 | 1 | Nos | 0 | 0
5 | W5 | 1 | Nos | 0 | 0
6 | V1 | 5 | Nos | 0 | 0
7 | V2 | 3 | Nos | 0 | 0
BILL N0: 05 -DOORS AND WINDOWS
| TOTAL OF BILL No: 05 - Carried over to summary |  |  |  | 0
BILL N0: 06
METAL WORKS
6.1 | GENERAL
(a) Rates shall include for: all fabrication work, welding, marking, drilling for bolts including those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
(b) Rates shall include for all painting and finishing.
(c) Rates shall include for fabrication and erection of temporary supports and fixing into position
(d) All roof trusses shall be fabricated from GI Pipes, approved by the architect / consultant. Method for fabrication outlined in technical specification shall be followed
6.2 | Stainless Steel Gates
1 | Gate at Admin Entrance G1 | 1 | nos | 0 | 0
2 | Gate at Accomodation Entrance G2 | 1 | nos | 0 | 0
3 | Gate at Entrance Garage G3 | 1 | nos | 0 | 0
6.3 | Fencing
Stainless Steel Pipes Fixed on top of masonry walls
1 | Boundary Fence (refer to detailed drawings) | 1 | item | 0 | 0
6.4 | Cladding
1 | Aluminum Cladding Panel (as per designers specification) | 120 | m2 | 0 | 0
BILL N0: 06 - TIMBER WORKS
| TOTAL OF BILL No: 06 - Carried over to summary |  |  |  | 0
BILL N0: 07
TIMBER WORKS
7.1 | GENERAL
(a) Rates shall include for all fixing, cutting, trimmings, nails, screws and other fixings according to detailed drawing.
(c) Rates shall include for all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar complete with cleats, packers, wedges and timber beeding etc. similar and all nails and screws
(c) Rates shall include for fair edges, dressing over angle fillets, turning into grooves, all other labours, circular edges, nails, screws and other fixing and laps.
(d) Rates shall include for timber priming and all putty work as specified in the drawing
e) Rates shall include for supply of all required materials and complete installation according to the detailed drawings.
7.2 | Timber Frame Canopy
1 | Wood Shading Structure (Rate to include hollow P.V.C. Sheets, steel bracket and tension rod as shown in the drawing) | 38.15 | m | 0 | 0
7.3 | Dry Wall Partition
Dry wall partition with 12mm thick fixed glass panels as shown in the drawing.
1 | Partition wall in admin | 12.6 | m² | 0 | 0
BILL N0: 07 - TIMBER WORKS
| TOTAL OF BILL No: 07 - Carried over to summary |  |  |  | 0
BILL N0: 08
CEILING
8.1 | GENERAL
(a) Rates shall include for all fixing, cutting, trimmings, nails, screws and other fixings according to manufacturers' instructions.
(b) Rates shall include for timber priming and all putty work as specified in the drawing
(c) Rates shall include for all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar complete with cleats, packers, wedges and timber beeding etc. similar and all nails and screws
BILL N0: 08 - CEILING
| TOTAL OF BILL No: 08 - Carried over to summary |  |  |  | 0
BILL N0: 09
ROOFING WORKS
9.1 | GENERAL
(a) Rates shall include for fair edges, dressing over angle fillets, turning into grooves, all other labours, circular edges, nails, screws and other fixing and laps.
(b) All Roofing sheets and other accessories shall be submitted to architect/consultant for approval prior to installation
(c) Method for fabrication outlined in technical specification shall be followed
(d) Water down pipe should be connected to water storage
9.3 | ROOFING
4 | transparent Roofing ( Main enterence)
BILL N0: 09 -ROOFING WORKS
| TOTAL OF BILL No: 09 - Carried over to summary |  |  |  | 0
BILL N0: 10
TILING WORKS
10.1 | GENERAL
Note:(a) Rates shall include for: fixing, bedding, grouting, pointing, finishing and any other similar works to ensure the required finish.
(b) All tiles used be of Whitehorse brand or similar as given in Technical Specifications
(c) Contractor shall submit samples of all tiles for approval of consultant prior to procurement
(d) Where there may be any descripancies between the drawings and bill of quantities, details given in the drawings shall precede
10.2 | 600mm x 600mm Homogeneous Tiles
1 | Hall including server room | 35.7 | m² | 0 | 0
2 | Section Head Office | 13.8 | m² | 0 | 0
3 | Waiting Are | 14.3 | m² | 0 | 0
4 | Meeting Area | 8.9 | m² | 0 | 0
5 | Tea Room | 8.1 | m² | 0 | 0
6 | Store Area | 19 | m² | 0 | 0
7 | Living Area | 30 | m² | 0 | 0
8 | Dining | 10.3 | m² | 0 | 0
9 | Bed Room1 | 11.6 | m² | 0 | 0
10 | Bed Room 2 | 11.6 | m² | 0 | 0
11 | Skirting 600x100 homogenous Tiles | 190 | Mtr
10.3 | 200mm x 200mm Non-Skid Tile
1 | Toilet Floors | 11.34 | m² | 0 | 0
10.4 | 200mm x 300mm Homogeneous Tiles
1 | Toilet Walls | 71.21 | m² | 0 | 0
BILL N0: 10 -TILING WORKS
| TOTAL OF BILL No: 10 - Carried over to summary |  |  |  | 0
BILL No:11
PAINTING
11.1 | GENERAL
(a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door window furniture
| (b) All painting work shall be carried in accordance with the Specifications |  | 0
(c) Emulsion paint finish on cement plastered walls and concrete column, sides and soffits of beam and soffits of slab surfaces as specified. Exterior walls should be applied with weather proof paint. 1 coat of wall sealer, 2 coats of paint. Interior surfaces 1 coat of wall sealer, 2 coats of Putty and 2 coats of paint. Soffits of the Slab to be grinded before painting.Soffits of the slab with 1 coat of wall sealer, 2 coats of Wall putty, and 2 coats of Paint.Ceilings with 1 coat of wall sealer, 2 coats of Wall putty, and 2 coats of Paint.
(d) The colour brand should be sherwin Williams or an equilant brand.Colour of paint shall be decided by the architect or consultant
11.2 | WALLS AND CONCRETE SURFACES |  | 0
1 | Exterior Surface | 76.34 | m² | 0 | 0
2 | Interior Surface | 485.59 | m² | 0 | 0
3 | Boundary wall | 36.48 | m² | 0 | 0
11.3 | PARTITIONS
| (a) Interior partitions | 12.6 | m² | 0 | 0
11.4 | CEILING
| (a) Office area ceiling |  | m² | 0 | 0
There are ducts that have to be filled in the celling
Note:
One Coate Sealer
BILL No: 11 - PAINTING
| TOTAL OF BILL No: 11 - Carried over to summary |  |  |  | 0
BILL No: 12
ELECTRICAL AND FIRE PROTECTION INSTALLATIONS
12.1 | GENERAL
| (a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories |  | 0
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates for electrical conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces
(d) Light end and switch end of wiring together measured as one point
(e) A point wiring for power points is measured as one point for each socket outlet; other end of wire is not included in the quantity.
(f) Rates shall include for supply and complete installation
(g) Rates for fans shall include for fan regulator and rates for lighting shall include for switched
(h) Three phase power supply.
12.2 | ELECTRICAL BOARDS
Complete installation, including for all connections, earthing, painting, testing and similar of:
1 | Three phase main panel board with connections from the mains including meter, cut-off fuse and other accessories to be located in the panel room at ground floor to electrical engineers specification | 1 | Item | 0 | 0
2 | Electricity Meter | 1 | Nos | 0 | 0
3 | Distribution Board | 2 | Nos | 0 | 0
12.3 | ELECTRICAL WIRING |  | 0
| Electrical wiring with copper conductor cable in conduits in walls and concrete as per government regulations. |  | 0
1 | Wiring to lights | 0 | points | 0 | 0
2 | Wiring to power points | 0 | points | 0 | 0
12.4 | LIGHTING / SWITCH TO BE SUPPLED AND FIXED
1 | Flourescent Tube Light ( 4ft) | 25 | Nos | 0 | 0
2 | Weather proof outdoor wall mount light | 32 | Nos | 0 | 0
3 | Ceiling Light | 48 | Nos | 0 | 0
4 | 1-way switch | 24 | Nos | 0 | 0
5 | 2-way switch | 1 | Nos | 0 | 0
6 | Timer Switch | 1 | Nos | 0 | 0
7 | Fan Regulator | 12 | Nos | 0 | 0
8 | Globe lights | 16 | Nos | 0 | 0
4 | Ceilling Fans (KDK) | 12 | Nos | 0 | 0
12.5 | POWER POINTS
1 | 13amp 1-gang power socket | 3 | Nos | 0 | 0
2 | 13amp 2-gang power socket | 27 | Nos | 0 | 0
3 | 15amp 1-gang power socket for A/C | 8 | Nos | 0 | 0
12.6 | OTHERS
1 | Telephone Socket | 17 | Nos | 0 | 0
2 | Data Socket | 15 | Nos | 0 | 0
3 | TV Socket | 2 | Nos | 0 | 0
12.7 | AIR-CONDITIONING UNIT
1 | Air-conditioning Unit 10,000BTU | 7 | unit | 0 | 0
2 | Air-conditioning Unit 15,000BTU | 1 | unit | 0 | 0
3 | Air-conditioning Unit 18,000BTU | 3 | unit | 0 | 0
4 | Air-conditioning Unit 24,000BTU | 1 | unit | 0 | 0
5 | Installation Cost including all necessary AC accessories | 1 | lot | 0 | 0
12.8 | FIRE PROTECTION
1 | Smoke Detector | 12 | nos | 0 | 0
2 | Heat Detector | 1 | nos | 0 | 0
3 | Manual Call Point | 2 | nos | 0 | 0
4 | Fire Alarm Bell | 1 | nos | 0 | 0
5 | H2O Fire Extinguiser | 4 | nos | 0 | 0
6 | CO2 Fire Extinguiser | 4 | nos | 0 | 0
7 | Main Fire Panel | 1 | nos | 0 | 0
8 | Fire Resistant Cable Including pvc conduits | 1 | item | 0 | 0
9 | Testing & Commissioning | 1 | item | 0 | 0
12.8 | Electrical main Feeder cable
| Electrical main feeder cable | 380 | feet | 0 | 0
length is approximaly 375 feet from nearest distribution box
| BILL No: 12 - ELECTRICAL INSTALLATION |  | 0
| TOTAL OF BILL No: 12 - Carried over to summary |  |  |  | 0
Bill No. 13
HYDRAULICS & DRAINAGE
13.1 | HYDRAULICS
13.1.1 | General
(a) Rates shall include for sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints, backnuts and similar, incidental fittings, clips saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting and forming holes, excavating, laying pipes and backfilling trenches.
(b) All pipe work and fittings shall be high pressure PVC
(c) Rates shall include for supply and fixing of all pipes
(d) All sanitary fixtures used shall be of superior quality and approved by the architect/consultant on submission of samples.
13.1.2 | Internal Plumbing
13.1.3 | External plumbing
1 | Connection toseptic tank | 1 | nos | 0 | 0
13.1.6 | Sanitary Fixtures & Accessories
Sanitary fixtures complete including brackets, stop valves, fittings etc. All sanitary fittings shall be of Cotto brand or similar as described in the technical specifications
1 | Water closet complete | 4 | nos | 0 | 0
2 | Wash basin | 3 | nos | 0 | 0
3 | Tap | 4 | nos | 0 | 0
4 | Shower | 2 | nos | 0 | 0
5 | Bedit Shower | 4 | nos | 0 | 0
6 | Floor Trap with Gully | 4 | nos | 0 | 0
7 | Valve | 7 | nos | 0 | 0
8 | Electric Pump (complete set) | 1 | set | 0 | 0
9 | Mirror | 3 | nos | 0 | 0
10 | Water Heater | 2 | nos | 0 | 0
13.2 | DRAINAGE
13.2.1 | General
(a) Rates shall include for excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints and all joints and other incidental materials.
(b) All pipework shall be PVC
13.2.2 | Rainwater Discharge Pipe
(a) Rates shall include for excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints and all joints and other incidental materials.
13.2.3 | Inspection Chamber
Connction to inspection chamber
BILL No: 13 - HYDRAULICS AND DRAINAGE
| TOTAL OF BILL No: 13 - Carried over to summary |  |  |  | 0
Bill No. 14
ADDITION AND OMMISION
14.1 | Additions
| Flag Post | 2 | nos
14.1.1 | Kitchen Fixtures
1 | Supply and installation of kitchen cupboard set including all fixtures
2 | Supply aand instalation of sink with counter top inculuding all fixtures (Located at tea room)
4.1.2 | Reception Counter
1 | Reception Counter as per Drawing
2 | Fixed glass for counter
4.1.4 | Supply to Guard Room
1 | Telephone Socket | 1 | item | 0 | 0
2 | Data Socket | 1 | item | 0 | 0
3 | TV Socket | 1 | item | 0 | 0
4 | Steel pipe insulation for for IT cables | 1 | item | 0 | 0
5 | Cable for CCTV - Cat-6 | 1 | item | 0 | 0
| CCTC Camera (HD camera more then 3 mega pixcel | 6 | Nos
Water Storage
| Water Storage tank 20,000 tonnage | 1 | item
BILL No: 13 - ADDITION AND OMMISION
| TOTAL OF BILL No: 14 - Carried over to summary |  |  |  | 0
14.2 | Ommisions
BILL No: 14 - TENDER'S ADJUSTMENTS
TOTAL OF BILL No: 14 - Carried over to summary

## Summary unbill (hidden)
PROJECT: PROPOSED SINGLE STOREY BUILDING Customs Office and Accomodation, Ha. Uligamu
SUMMARY OF BILL OF QUANTITIES- Unbilled
NO | BILL | AMOUNT (MRF)
1 | PRELIMINARIES | 0
2 | GROUND WORKS | 0
3 | CONCRETE WORK | 3655.44
4 | MASONRY AND PLASTERING | 121397.5
5 | DOORS AND WINDOWS | 0
6 | METAL WORKS | 0
7 | TIMBER WORKS | 0
8 | CEILING | 29811
9 | ROOFING WORKS | 0
10 | TILING WORKS | 0
11 | PAINTING | 0
12 | ELECTRICAL AND FIRE PROTECTION INSTALLATIONS | 71100
13 | HYDRAULICS & DRAINAGE | 54500
14 | ADDITION AND OMMISION | 114000
15 | Variation 01 | 33550
| Sub-Total | 428013.94
| + 6% GST | 25680.8364
| GRAND TOTAL | 453694.7764

## BOQ unbilled (hidden)
PROJECT: PROPOSED SINGLE STOREY BUILDING Customs Office and Accomodation, Ha. Uligamu
CLIENT: MALDIVES CUSTOMS SERVICES
Item | Description | Qty | Unit | Rate | Amount
BILL No: 01
PRELIMINARIES
1.1 | GENERAL NOTES
1 | Abbreviations
m - metre
Nos - numbers
m³ - cubic metre
m² - square metre
m - metre
kg - kilogram
incl - including
mm - millimetre
dia - diametre
SS - Staiinless Steel
GI - Galvinised Iron
1.2 | SITE MANAGEMENT COSTS
| Allow for all on and off site management costs including costs of foreman and assistants, temporary services, telephone, fax, hoardings, fences and similar items. | 1 | Item | 0 | 0
1.3 | TRANSPORTATION
| Providing transport for the raw materilas , machineries and tools that is required for the completion of the project. | 1 | item | 0 | 0
1.5 | SIGN BOARD
| Allow for sign board. | 1 | Nos | 0 | 0
1.6 | CLEAN - UP
| Allow for clean up of completed works and site upon completion | 1 | Item | 0 | 0
BILL No: 01 - PRELIMINARIES
| TOTAL OF BILL No: 01 - Carried over to summary |  |  |  | 0
BILL No: 02
GROUND WORKS
2 | GENERAL
Rates shall include for; levelin, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and dispoding surplus soil
2.1 | SITE CLEARING
| Removing and clearing any shrubs or trees from the site to obtain clear land area. | 1 | Item | 0 | 0
2.2 | EXCAVATION
Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork/shuttering and dewatering the trenches and others.
1 | Excavation for foundation footings and foundation beams. | 12.43 | m³ | 0 | 0
2.3 | WATER PROOFING
Note: Rates shall include for: dressing around and sealing to avoid all penetrations
1 | Water proofing membrane below ground floor slab, in accordance with drawings and specifications | 223.57 | m² | 0 | 0
2.4 | BACK FILLING
Rates shall include for levelling, grading, trimming and compacting.
1 | Backfilling of excavated area including compaction as per specification, after concreting of foundations. | 1 | Item | 0 | 0
BILL No: 02 - GROUND WORKS
| TOTAL OF BILL No: 02 - Carried over to summary |  |  |  | 0
BILL No: 03
CONCRETE WORK
3.1 | GENERAL
(a) Rates shall include for: provision to place in position; casting of all required items and finishing after removal of formwork and additional concrete required to conform to structural and excavated tolerances.
(b) Rates shall include supply of all formwork item including form oil, timber, plywood, nails etc.
(c) Mix ratio for reinforced concrete shall be 1:2:3 unless otherwise specified and lean concrete shall be 1:3:6 by volume
0
3.4.2 | Other Concrete Works
1 | Entrance Ramp , 4000mm x 3000mm | 12 | m² | 150 | 1800
3.5 | FORM WORK
GENERAL
(a) Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, straps, ties, hangers, pipes, edge formwork and removal of formwork.
3 | Ground Slab 100mm thick | 8.59 | m² | 216 | 1855.44
BILL No: 03 - CONCRETE WORKS
| TOTAL OF BILL No: 03 - Carried over to summary |  |  |  | 3655.44
BILL No: 04
MASONRY AND PLASTERING
4.1 | GENERAL
Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down reveals where necessary; and blocks, cutting or leaving holes and openings as recesses, building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames, temporary supports to openings. Providing approved quality mesh at joints between structaral members and masonry in the exterior walls.
4.3.2 | Internal
12mm Thick cement plastering on internal surfaces of walls and concrete column surfaces with 1:4 cement mortar mix as specified including wire mesh at joints of concrete surfaces and masonry walls
1 | Internal Walls | 485.59 | m² | 250 | 121397.5
BILL No: 04 - MASONRY AND PLASTERING
| TOTAL OF BILL No: 04 - Carried over to summary |  |  |  | 121397.5
BILL N0: 08
CEILING
8.1 | GENERAL
(a) Rates shall include for all fixing, cutting, trimmings, nails, screws and other fixings according to manufacturers' instructions.
(b) Rates shall include for timber priming and all putty work as specified in the drawing
(c) Rates shall include for all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar complete with cleats, packers, wedges and timber beeding etc. similar and all nails and screws
1 | All internal timber framework to be applied with solignum wood preservative chemical or equivalent and kept for 24hrs berore use. | 198.74 | m² | 150 | 29811
BILL No: 11 - PAINTING
| TOTAL OF BILL No: 11 - Carried over to summary |  |  |  | 29811
BILL No: 12
ELECTRICAL AND FIRE PROTECTION INSTALLATIONS
12.1 | GENERAL
| (a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories |  | 0
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates for electrical conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces
(d) Light end and switch end of wiring together measured as one point
(e) A point wiring for power points is measured as one point for each socket outlet; other end of wire is not included in the quantity.
(f) Rates shall include for supply and complete installation
(g) Rates for fans shall include for fan regulator and rates for lighting shall include for switched
(h) Three phase power supply.
12.3 | ELECTRICAL WIRING |  | 0
| Electrical wiring with copper conductor cable in conduits in walls and concrete as per government regulations. |  | 0
1 | Wiring to lights | 167 | points | 300 | 50100
2 | Wiring to power points | 70 | points | 300 | 21000
| BILL No: 12 - ELECTRICAL INSTALLATION |  | 0
| TOTAL OF BILL No: 12 - Carried over to summary |  |  |  | 71100
Bill No. 13
HYDRAULICS & DRAINAGE
13.1 | HYDRAULICS
13.1.1 | General
(a) Rates shall include for sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints, backnuts and similar, incidental fittings, clips saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting and forming holes, excavating, laying pipes and backfilling trenches.
(b) All pipe work and fittings shall be high pressure PVC
(c) Rates shall include for supply and fixing of all pipes
(d) All sanitary fixtures used shall be of superior quality and approved by the architect/consultant on submission of samples.
13.1.2 | Internal Plumbing
Internal plumbing to all toilets and kitchen incl. supply and laying of pipes. Includes fresh water, ground water & sewarge connection
1 | Toilets | 3 | Units | 12000 | 36000
2 | Kitchen | 1 | Units | 3000 | 3000
13.2 | DRAINAGE
13.2.1 | General
(a) Rates shall include for excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints and all joints and other incidental materials.
(b) All pipework shall be PVC
13.2.2 | Rainwater Discharge Pipe
(a) Rates shall include for excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints and all joints and other incidental materials.
1 | 100mm Ø Rainwater down pipe rates shall include for supply and installation of piping from terrace through the ducting and connection to exterior drain system. | 1 | lot | 5000 | 5000
13.2.3 | Inspection Chamber
(a) Installation of an inspection chamber for sewage, waste water and drainage.
1 | Inspection Chamber | 3 | nos | 3500 | 10500
BILL No: 13 - HYDRAULICS AND DRAINAGE
| TOTAL OF BILL No: 13 - Carried over to summary |  |  |  | 54500
Bill No. 14
ADDITION AND OMMISION
14.1 | Additions
4.1.3 | Guard room Extention
| Guard room Extention work as per proposed drawing including all nessesary concrete, Mansonary, plastering, electrical works and compleate roofing | 1 | item | 104000 | 104000
Extention of building 5 feet from back and front
| Lean Concrete | 1 | item | 100 | 100
| Concrete | 1 | item | 2500 | 2500
| Formwork | 1 | item | 2000 | 2000
| Reinforsment | 1 | item | 5000 | 5000
| plastering | 1 | item | 400 | 400
BILL No: 14 - ADDITION AND OMMISION
| TOTAL OF BILL No: 14 - Carried over to summary |  |  |  | 114000
Bill No. 15
Variation 01
Fixing of fan and Hook
1 | hook | 12 | no | 150 | 1800
3 | 2.5mm wiring to fan | 12 | no | 450 | 5400
0
Construction of Septic tank
1 | Charges for construction and installation of Septic tank | 1 | unit | 51500 | 51500
Additional Ceiling wood
| Rate for 50x35 mm wood @50% of total wood requirment | 21 | CFT | 400 | 8400
BILL No: 14 - Variation 01
| TOTAL OF BILL No: 14 - Carried over to summary |  |  |  | 33550

## Cover (hidden)
Bill of Quantities
PROPOSED SINGLE STOREY BUILDING
Customs Office & Accomodation, Ha. Uligamu
Client: Maldives Customs Service

## Summary
PROJECT: PROPOSED SINGLE STOREY BUILDING Customs Office and Accomodation, Ha. Uligamu
SUMMARY OF BILL OF QUANTITIES
NO | BILL | AMOUNT (MRF)
1 | PRELIMINARIES | 0
2 | GROUND WORKS | 0
3 | CONCRETE WORK | 0
4 | MASONRY AND PLASTERING | 0
5 | DOORS AND WINDOWS | 0
6 | METAL WORKS | 0
7 | TIMBER WORKS | 0
8 | CEILING | 0
9 | ROOFING WORKS | 0
10 | TILING WORKS | 0
11 | PAINTING | 0
12 | ELECTRICAL AND FIRE PROTECTION INSTALLATIONS | 0
13 | HYDRAULICS & DRAINAGE | 0
14 | ADDITION AND OMMISION | 0
| Sub-Total | 0
| + 6% GST | 0
| GRAND TOTAL | 0

## BOQ
PROJECT: PROPOSED SINGLE STOREY BUILDING Customs Office and Accomodation, Ha. Uligamu
CLIENT: MALDIVES CUSTOMS SERVICES
Item | Description | Qty | Unit | Rate | Amount
BILL No: 01
PRELIMINARIES
1.1 | GENERAL NOTES
1 | Abbreviations
m - metre
Nos - numbers
m³ - cubic metre
m² - square metre
m - metre
kg - kilogram
incl - including
mm - millimetre
dia - diametre
SS - Staiinless Steel
GI - Galvinised Iron
1.2 | SITE MANAGEMENT COSTS
| Allow for all on and off site management costs including costs of foreman and assistants, temporary services, telephone, fax, hoardings, fences and similar items. | 1 | Item | 0 | 0
1.3 | TRANSPORTATION
| Providing transport for the raw materilas , machineries and tools that is required for the completion of the project. | 1 | item | 0 | 0
1.5 | SIGN BOARD
| Allow for sign board. | 1 | Nos | 0 | 0
1.6 | CLEAN - UP
| Allow for clean up of completed works and site upon completion | 1 | Item | 0 | 0
BILL No: 01 - PRELIMINARIES
| TOTAL OF BILL No: 01 - Carried over to summary |  |  |  | 0
BILL No: 02
GROUND WORKS
2 | GENERAL
Rates shall include for; levelin, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and dispoding surplus soil
2.1 | SITE CLEARING
| Removing and clearing any shrubs or trees from the site to obtain clear land area. | 1 | Item | 0 | 0
2.2 | EXCAVATION
Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork/shuttering and dewatering the trenches and others.
1 | Excavation for foundation footings and foundation beams. | 12.43 | m³ | 0 | 0
2.3 | WATER PROOFING
Note: Rates shall include for: dressing around and sealing to avoid all penetrations
1 | Water proofing membrane below ground floor slab, in accordance with drawings and specifications | 223.57 | m² | 0 | 0
2.4 | BACK FILLING
Rates shall include for levelling, grading, trimming and compacting.
1 | Backfilling of excavated area including compaction as per specification, after concreting of foundations. | 1 | Item | 0 | 0
BILL No: 02 - GROUND WORKS
| TOTAL OF BILL No: 02 - Carried over to summary |  |  |  | 0
BILL No: 03
CONCRETE WORK
3.1 | GENERAL
(a) Rates shall include for: provision to place in position; casting of all required items and finishing after removal of formwork and additional concrete required to conform to structural and excavated tolerances.
(b) Rates shall include supply of all formwork item including form oil, timber, plywood, nails etc.
(c) Mix ratio for reinforced concrete shall be 1:2:3 unless otherwise specified and lean concrete shall be 1:3:6 by volume
0
3.2 | LEAN CONCRETE |  | 0
| Note: Quantity is measured to the edges of concrete members. |  | 0
50mm thick lean concrete to bottom of:
1 | Foundation beams | 1.78 | m³ | 0 | 0
3.3 | DAMP PROOF MEMBRANE
Damp prof membrane to bottom of concrete elements as per specification
1 | Polythene sheet over lean concrete for foundation footings and beams | 223.57 | m² | 0 | 0
3.4 | REINFORCED CONCRETE |  | 0
| In-situ reinforced concrete to: |  | 0
3.4.1 | Superstructure |  | 0
1 | Foundation beam FB, 200mm x 300mm | 10.66 | m³ | 0 | 0
2 | Columns, 200mm x 200mm | 2.69 | m³ | 0 | 0
3 | Ground Slab 125mm thick | 27.32 | m³ | 0 | 0
4 | Roof Beams, 200mm x 300mm | 8.29 | m³ | 0 | 0
5 | RC Gutter | 1.01 | m³ | 0 | 0
6 | RC Parapet Wall on top Roof Beam | 4.34 | m³ | 0 | 0
3.4.2 | Other Concrete Works
1 | Entrance Ramp , 4000mm x 3000mm | 12 | m² | 150 | 1800
3.5 | FORM WORK
GENERAL
(a) Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, straps, ties, hangers, pipes, edge formwork and removal of formwork.
3.5.1 | Superstructure |  | 0
1 | Foundation beam FB, 200mm x 300mm | 71.04 | m² | 0 | 0
2 | Columns, 200mm x 200mm | 53.76 | m² | 0 | 0
3 | Ground Slab 100mm thick | 8.59 | m² | 216 | 1855.44
4 | Roof Beams, 200mm x 300mm | 55.24 | m² | 0 | 0
5 | RC Gutter | 10.43 | m² | 0 | 0
6 | RC Parapet Wall on top Roof Beam | 57.84 | m² | 0 | 0
3.6 | REINFORCEMENT |  | 0
| GENERAL |  | 0
| (a) Rates shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and chair supports, laps and wastage |  | 0
| (b) All reinforcing bars except 6mm dia bars shall be high strength deformed bars. |  | 0
(c) The exact length exclusive of laps are given. The rates shall take into account laps and any wastage.
3.6.1 | Superstructure
1 | Foundation beam FB, 200mm x 300mm
| 12mm dia bars | 630.84 | kg | 0 | 0
| 6mm dia bars | 189.25 | kg | 0 | 0
2 | Columns, 200mm x 200mm
| 12mm dia bars | 238.69 | kg | 0 | 0
| 6mm dia bars | 59.67 | kg | 0 | 0
3 | Ground Slab 100mm thick
| 6mm dia bars | 323.44 | kg | 0 | 0
4 | Roof Beams, 200mm x 300mm
| 12mm dia bars | 490.53 | kg | 0 | 0
| 6mm dia bars | 171.69 | kg | 0 | 0
5 | RC Gutter
| 10mm dia bars | 154.37 | kg | 0 | 0
6 | RC Parapet Wall on top Roof Beam
| 10mm dia bars | 378.93 | kg | 0 | 0
3.7 | WATER PROOFING
GENERAL
Rates shall include for dressing around and sealing all penetrations.
1 | Application of two coats of approved water proofing chemical on all concrete surfaces below finished floor level in accordance with drawings, specification and manufacturers instructions. | 1 | item | 0 | 0
BILL No: 03 - CONCRETE WORKS
| TOTAL OF BILL No: 03 - Carried over to summary |  |  |  | 3655.44
BILL No: 04
MASONRY AND PLASTERING
4.1 | GENERAL
Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down reveals where necessary; and blocks, cutting or leaving holes and openings as recesses, building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames, temporary supports to openings. Providing approved quality mesh at joints between structaral members and masonry in the exterior walls.
4.2 | CEMENT BLOCK WORK
1 | (a) 150mm thick solid block wall, with dimentions (100x150x300mm)MCPI solid blocks, laid on and including 1:5 cement sand mortar, tie rods, compression gap filler, nylon'plastic mesh as specified and should be approved.
1 | External Walls | 144.13 | m² | 0 | 0
2 | Internal Walls | 152.01 | m² | 0 | 0
3 | Boundary Wall | 18.24 | m² | 0 | 0
within 20' to 20' Columns, 200mm x 200mm should be palced
4.3 | PLASTERING
4.3.1 | External
Average 13mm thick cement plastering (made up of 2 layers, both layers being 12mm thick on external surfaces of walls and concrete surfaces with 1:4 cement mortar mix as specified including wire mesh at joints of concrete surfaces and masonry walls
1 | External Walls including roof parapet walls | 181.57 | m² | 0 | 0
2 | Boundary Wall below S/S perimeter fence | 36.48 | m² | 0 | 0
4.3.2 | Internal
12mm Thick cement plastering on internal surfaces of walls and concrete column surfaces with 1:4 cement mortar mix as specified including wire mesh at joints of concrete surfaces and masonry walls
1 | Internal Walls | 485.59 | m² | 0 | 0
BILL No: 04 - MASONRY AND PLASTERING
| TOTAL OF BILL No: 04 - Carried over to summary |  |  |  | 0
BILL N0: 05
DOORS AND WINDOWS
5.1 | GENERAL
(a) Rates shall include for locks, latches, closures, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware. These materials should brass and of superior quality.
(b) Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boarding, framing, lining, fastenings and all fixings
(c) Rates shall include for painting timber doors
(d) All doors shall be in accordance with drawings and specification and all measurements shall be checked on site by the contractor before fabrication.
(e) The contractor shall submit shop drawings for all doors and windows, for approval before fabrication and proceeding with the works
5.2 | ROLLER SHUTTER DOOR UNITS
1 | Roller Shutter Door | 1 | Nos | 0 | 0
5.3 | DOOR UNITS
1 | D1 | 1 | Nos | 0 | 0
2 | D2 | 14 | Nos | 0 | 0
3 | D2A | 1 | Nos | 0 | 0
4 | D2B | 1 | Nos | 0 | 0
5 | D3 | 4 | Nos | 0 | 0
6 | D4 | 2 | Nos | 0 | 0
5.4 | WINDOW UNITS
1 | W1 | 6 | Nos | 0 | 0
2 | W2 | 13 | Nos | 0 | 0
3 | W3 | 1 | Nos | 0 | 0
4 | W4 | 1 | Nos | 0 | 0
5 | W5 | 1 | Nos | 0 | 0
6 | V1 | 5 | Nos | 0 | 0
7 | V2 | 3 | Nos | 0 | 0
BILL N0: 05 -DOORS AND WINDOWS
| TOTAL OF BILL No: 05 - Carried over to summary |  |  |  | 0
BILL N0: 06
METAL WORKS
6.1 | GENERAL
(a) Rates shall include for: all fabrication work, welding, marking, drilling for bolts including those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
(b) Rates shall include for all painting and finishing.
(c) Rates shall include for fabrication and erection of temporary supports and fixing into position
(d) All roof trusses shall be fabricated from GI Pipes, approved by the architect / consultant. Method for fabrication outlined in technical specification shall be followed
6.2 | G.I. Gates
1 | Steel Gate at Admin Entrance G1 | 1 | nos | 0 | 0
2 | Steel Gate at Accomodation Entrance G2 | 1 | nos | 0 | 0
3 | Steel Gate at Entrance Garage G3 | 1 | nos | 0 | 0
6.3 | Fencing
Stainless Steel Pipes Fixed on top of masonry walls
1 | Boundary Fence (refer to detailed drawings) | 1 | item | 0 | 0
6.4 | Cladding
1 | Aluminum Cladding Panel (as per designers specification) | 105.23 | m2 | 0 | 0
BILL N0: 06 - TIMBER WORKS
| TOTAL OF BILL No: 06 - Carried over to summary |  |  |  | 0
BILL N0: 07
TIMBER WORKS
7.1 | GENERAL
(a) Rates shall include for all fixing, cutting, trimmings, nails, screws and other fixings according to detailed drawing.
(c) Rates shall include for all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar complete with cleats, packers, wedges and timber beeding etc. similar and all nails and screws
(c) Rates shall include for fair edges, dressing over angle fillets, turning into grooves, all other labours, circular edges, nails, screws and other fixing and laps.
(d) Rates shall include for timber priming and all putty work as specified in the drawing
e) Rates shall include for supply of all required materials and complete installation according to the detailed drawings.
7.2 | Timber Frame Canopy
1 | Wood Shading Structure (Rate to include hollow P.V.C. Sheets, steel bracket and tension rod as shown in the drawing) | 38.15 | m | 0 | 0
7.3 | Dry Wall Partition
Dry wall partition with 12mm thick fixed glass panels as shown in the drawing.
1 | Partition wall in admin | 12.6 | m² | 0 | 0
BILL N0: 07 - TIMBER WORKS
| TOTAL OF BILL No: 07 - Carried over to summary |  |  |  | 0
BILL N0: 08
CEILING
8.1 | GENERAL
(a) Rates shall include for all fixing, cutting, trimmings, nails, screws and other fixings according to manufacturers' instructions.
(b) Rates shall include for timber priming and all putty work as specified in the drawing
(c) Rates shall include for all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar complete with cleats, packers, wedges and timber beeding etc. similar and all nails and screws
8.2 | 9MM THK GYPSUM PLASTER BOARD FLAT CEILING
9mm thick gypsum plaster board flat ceiling finished with matte white emulsion paint.
1 | All internal timber framework to be applied with solignum wood preservative chemical or equivalent and kept for 24hrs berore use. | 198.74 | m² | 0 | 0
BILL N0: 08 - CEILING
| TOTAL OF BILL No: 08 - Carried over to summary |  |  |  | 0
BILL N0: 09
ROOFING WORKS
9.1 | GENERAL
(a) Rates shall include for fair edges, dressing over angle fillets, turning into grooves, all other labours, circular edges, nails, screws and other fixing and laps.
(b) All Roofing sheets and other accessories shall be submitted to architect/consultant for approval prior to installation
(c) Method for fabrication outlined in technical specification shall be followed
(d) Water down pipe should be connected to water storage
9.2 | ROOF FRAMING
1 | 50mm x 150mm Timber Rafters | 230.54 | m | 0 | 0
2 | 50mm x 50mm Timber Purlins | 250.3 | m | 0 | 0
3 | 25mm x 250mm Timber Fascia Board | 13.4 | m | 0 | 0
4 | 50mm x 100mm Timber Wall Plate | 39.15 | m | 0 | 0
9.3 | ROOFING
1 | Lysaght Roofing Sheet | 198.74 | m² | 0 | 0
2 | Lysaght flashing | 62.31 | m | 0 | 0
3 | Rainwater Down pipe | 1 | item | 0 | 0
4 | transparent Roofing ( Main enterence)
BILL N0: 09 -ROOFING WORKS
| TOTAL OF BILL No: 09 - Carried over to summary |  |  |  | 0
BILL N0: 10
TILING WORKS
10.1 | GENERAL
Note:(a) Rates shall include for: fixing, bedding, grouting, pointing, finishing and any other similar works to ensure the required finish.
(b) All tiles used be of Whitehorse brand or similar as given in Technical Specifications
(c) Contractor shall submit samples of all tiles for approval of consultant prior to procurement
(d) Where there may be any descripancies between the drawings and bill of quantities, details given in the drawings shall precede
10.2 | 600mm x 600mm Homogeneous Tiles
1 | Hall including server room | 35.7 | m² | 0 | 0
2 | Section Head Office | 13.8 | m² | 0 | 0
3 | Waiting Are | 14.3 | m² | 0 | 0
4 | Meeting Area | 8.9 | m² | 0 | 0
5 | Tea Room | 8.1 | m² | 0 | 0
6 | Store Area | 19 | m² | 0 | 0
7 | Living Area | 14.8 | m² | 0 | 0
8 | Dining | 10.3 | m² | 0 | 0
9 | Bed Room1 | 11.6 | m² | 0 | 0
10 | Bed Room 2 | 11.6 | m² | 0 | 0
10.3 | 200mm x 200mm Non-Skid Tile
1 | Toilet Floors | 11.34 | m² | 0 | 0
10.4 | 200mm x 300mm Homogeneous Tiles
1 | Toilet Walls | 71.21 | m² | 0 | 0
BILL N0: 10 -TILING WORKS
| TOTAL OF BILL No: 10 - Carried over to summary |  |  |  | 0
BILL No:11
PAINTING
11.1 | GENERAL
(a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door window furniture
| (b) All painting work shall be carried in accordance with the Specifications |  | 0
(c) Emulsion paint finish on cement plastered walls and concrete column, sides and soffits of beam and soffits of slab surfaces as specified. Exterior walls should be applied with weather proof paint. 1 coat of wall sealer, 2 coats of paint. Interior surfaces 1 coat of wall sealer, 2 coats of Putty and 2 coats of paint. Soffits of the Slab to be grinded before painting.Soffits of the slab with 1 coat of wall sealer, 2 coats of Wall putty, and 2 coats of Paint.Ceilings with 1 coat of wall sealer, 2 coats of Wall putty, and 2 coats of Paint.
(d) The colour brand should be sherwin Williams or an equilant brand.Colour of paint shall be decided by the architect or consultant
11.2 | WALLS AND CONCRETE SURFACES |  | 0
1 | Exterior Surface | 76.34 | m² | 0 | 0
2 | Interior Surface | 485.59 | m² | 0 | 0
3 | Boundary wall | 36.48 | m² | 0 | 0
11.3 | PARTITIONS
| (a) Interior partitions | 12.6 | m² | 0 | 0
11.4 | CEILING
| (a) Office area ceiling | 198.74 | m² | 0 | 0
BILL No: 11 - PAINTING
| TOTAL OF BILL No: 11 - Carried over to summary |  |  |  | 0
BILL No: 12
ELECTRICAL AND FIRE PROTECTION INSTALLATIONS
12.1 | GENERAL
| (a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories |  | 0
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates for electrical conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces
(d) Light end and switch end of wiring together measured as one point
(e) A point wiring for power points is measured as one point for each socket outlet; other end of wire is not included in the quantity.
(f) Rates shall include for supply and complete installation
(g) Rates for fans shall include for fan regulator and rates for lighting shall include for switched
(h) Three phase power supply.
12.2 | ELECTRICAL BOARDS
Complete installation, including for all connections, earthing, painting, testing and similar of:
1 | Three phase main panel board with connections from the mains including meter, cut-off fuse and other accessories to be located in the panel room at ground floor to electrical engineers specification | 1 | Item | 0 | 0
2 | Electricity Meter | 1 | Nos | 0 | 0
3 | Distribution Board | 2 | Nos | 0 | 0
12.3 | ELECTRICAL WIRING |  | 0
| Electrical wiring with copper conductor cable in conduits in walls and concrete as per government regulations. |  | 0
1 | Wiring to lights | 167 | points | 0 | 0
2 | Wiring to power points | 70 | points | 0 | 0
12.4 | LIGHTING / SWITCH TO BE SUPPLED AND FIXED
1 | Flourescent Tube Light ( 4ft) | 25 | Nos | 0 | 0
2 | Weather proof outdoor wall mount light | 32 | Nos | 0 | 0
3 | Ceiling Light | 48 | Nos | 0 | 0
4 | 1-way switch | 24 | Nos | 0 | 0
5 | 2-way switch | 1 | Nos | 0 | 0
6 | Timer Switch | 1 | Nos | 0 | 0
12.5 | POWER POINTS
1 | 13amp 1-gang power socket | 3 | Nos | 0 | 0
2 | 13amp 2-gang power socket | 27 | Nos | 0 | 0
3 | 15amp 1-gang power socket for A/C | 8 | Nos | 0 | 0
12.6 | OTHERS
1 | Telephone Socket | 17 | Nos | 0 | 0
2 | Data Socket | 15 | Nos | 0 | 0
3 | TV Socket | 2 | Nos | 0 | 0
12.7 | AIR-CONDITIONING UNIT
1 | Air-conditioning Unit 10,000BTU | 7 | unit | 0 | 0
2 | Air-conditioning Unit 15,000BTU | 1 | unit | 0 | 0
3 | Air-conditioning Unit 18,000BTU | 3 | unit | 0 | 0
4 | Air-conditioning Unit 24,000BTU | 1 | unit | 0 | 0
5 | Installation Cost including all necessary AC accessories | 1 | lot | 0 | 0
12.8 | FIRE PROTECTION
1 | Smoke Detector | 12 | nos | 0 | 0
2 | Heat Detector | 1 | nos | 0 | 0
3 | Manual Call Point | 2 | nos | 0 | 0
4 | Fire Alarm Bell | 1 | nos | 0 | 0
5 | H2O Fire Extinguiser | 4 | nos | 0 | 0
6 | CO2 Fire Extinguiser | 4 | nos | 0 | 0
7 | Main Fire Panel | 1 | nos | 0 | 0
8 | Fire Resistant Cable Including pvc conduits | 1 | item | 0 | 0
9 | Testing & Commissioning | 1 | item | 0 | 0
| BILL No: 12 - ELECTRICAL INSTALLATION |  | 0
| TOTAL OF BILL No: 12 - Carried over to summary |  |  |  | 0
Bill No. 13
HYDRAULICS & DRAINAGE
13.1 | HYDRAULICS
13.1.1 | General
(a) Rates shall include for sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints, backnuts and similar, incidental fittings, clips saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting and forming holes, excavating, laying pipes and backfilling trenches.
(b) All pipe work and fittings shall be high pressure PVC
(c) Rates shall include for supply and fixing of all pipes
(d) All sanitary fixtures used shall be of superior quality and approved by the architect/consultant on submission of samples.
13.1.2 | Internal Plumbing
Internal plumbing to all toilets and kitchen incl. supply and laying of pipes. Includes fresh water, ground water & sewarge connection
1 | Toilets | 3 | Units | 0 | 0
2 | Kitchen | 1 | Units | 0 | 0
13.1.3 | External plumbing
1 | Connection to Main sewer line | 1 | nos | 0 | 0
13.1.6 | Sanitary Fixtures & Accessories
Sanitary fixtures complete including brackets, stop valves, fittings etc. All sanitary fittings shall be of Cotto brand or similar as described in the technical specifications
1 | Water closet complete | 4 | nos | 0 | 0
2 | Wash basin | 3 | nos | 0 | 0
3 | Tap | 4 | nos | 0 | 0
4 | Shower | 2 | nos | 0 | 0
5 | Bedit Shower | 4 | nos | 0 | 0
6 | Floor Trap with Gully | 4 | nos | 0 | 0
7 | Valve | 7 | nos | 0 | 0
8 | Electric Pump (complete set) | 1 | set | 0 | 0
13.2 | DRAINAGE
13.2.1 | General
(a) Rates shall include for excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints and all joints and other incidental materials.
(b) All pipework shall be PVC
13.2.2 | Rainwater Discharge Pipe
(a) Rates shall include for excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints and all joints and other incidental materials.
1 | 100mm Ø Rainwater down pipe rates shall include for supply and installation of piping from terrace through the ducting and connection to exterior drain system. | 1 | lot | 0 | 0
13.2.3 | Inspection Chamber
(a) Installation of an inspection chamber for sewage, waste water and drainage.
1 | Inspection Chamber | 3 | nos | 0 | 0
BILL No: 13 - HYDRAULICS AND DRAINAGE
| TOTAL OF BILL No: 13 - Carried over to summary |  |  |  | 0
Bill No. 14
ADDITION AND OMMISION
14.1 | Additions
14.1.1 | Kitchen Fixtures
1 | Supply and installation of kitchen cupboard set including all fixtures
2 | Supply aand instalation of sink with counter top inculuding all fixtures (Located at tea room)
4.1.2 | Reception Counter
1 | Reception Counter as per Drawing
2 | Fixed glass for counter
4.1.3 | Guard room Extention
Guard room Extention work as per proposed drawing including all nessesary concrete, Mansonary, plastering, electrical works and compleate roofing
4.1.4 | Supply to Guard Room
1 | Telephone Socket
2 | Data Socket
3 | TV Socket
4 | Steel pipe insulation for for IT cables
5 | Cable for CCTV - Cat-6 (Six Camara)
Water Storage
Water Storage tank 20,000 tonnage
14.2 | Ommisions
BILL No: 14 - TENDER'S ADJUSTMENTS
TOTAL OF BILL No: 14 - Carried over to summary

## SUM (hidden)
SUMMARY OF BILLS OF QUANTITIES
PROJECT: PROPOSED SINGLE STOREY BUILDING Customs Office and Accomodation, Ha. Uligamu
CLIENT: MALDIVES CUSTOMS SERVICES
Bill No | Description | Amount
1 | PRELIMINARIES
2 | GROUND WORKS
3 | CONCRETE WORK
4 | MASONRY AND PLASTERING
5 | DOORS AND WINDOWS
6 | METAL WORKS
7 | TIMBER WORKS
8 | CEILING
9 | ROOFING WORKS
10 | PAINTING
11 | #REF!
12 | #REF!
GRAND TOTAL CARRIED TO FORM OF BID

## COVER PAGE (hidden)
BILL OF QUANTITIES
PROJECT: PROPOSED SINGLE STOREY BUILDING Customs Office and Accomodation, Ha. Uligamu
CLIENT: MALDIVES CUSTOMS SERVICES
APRIL 2013