## Cover (2)
BILL OF QUANTITIES
PROTOTYPE MOSQUE 700PAX
CLIENT : MINISTRY OF ISLAMIC AFFAIRS

## BOQ Summary
SUMMARY OF BILL OF QUANTITIES
Project: PROTOTYPE MOSQUE 700PAX | Date:
Version:
Client: | Prepared by:
DESCRIPTION |  | AMOUNT (MVR) | %
Bill №: 01 - PRELIMINARIES
Bill №: 02 - EXCAVATION AND FILLING
Bill №: 03 - INSITU CONCRETE WORKS
Bill №: 04 - MASONRY
Bill №: 05 - STRUCTURAL METAL WORKS
Bill №: 06 - CARPENTRY
Bill №: 07 - CEILING
Bill №: 08 - WINDOWS, SCREENS & LIGHTS
Bill №: 09 - DOORS, SHUTTERS & HATCHES
Bill №: 10 - DECORATIONS
Bill №: 11 - FINISHES
Bill №: 12- ROOFING
Bill №: 13 - HYDRAULICS AND DRAINAGE
Bill №: 14 - ELECTRICAL INSTALLATIONS
Bill №: 15- INSULATION, FIRE STOPPING & FIRE PROTECTION
Bill №: 16 - SOLAR PANEL
Bill №: 17 - MINARET
Bill №: 18 - BOUNDARY WALL
Bill №: 19 - LIBRARY
Bill №: 20 -HINAVAAGE
Bill №: 21- ADDITIONS AND OMMISIONS
AMOUNT
8% GST
TOTAL AMOUNT
NOTES to BoQ:

## BOQ
BILL OF QUANTITIES
ITEM |  |  |  | DESCRIPTION | UNIT | QTY | RATE | Amount
1.0.00 |  |  |  | Bill №: 01 - PRELIMINARIES
1.1.00 | GENERAL NOTES
Abbreviations
|  |  | m | - metre
|  |  | nr | - numbers
|  |  | m3 | - cubic metres
|  |  | m2 | - square metres
|  |  | lm | - linear metre
|  |  | t | - tons
|  |  | inc. | - including
|  |  | mm | - millimetre
|  |  | item | - quote a lumpsum amount for the item
|  |  | SS | - stainless steel
|  |  | GI | - galvanized iron
1.2.00 | SITE MANAGEMENT COSTS
1.2.01 |  |  |  | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings & similar. | item | 1
1.3.00 | SIGN BOARD
1.3.01 |  |  |  | Allow for sign board. | nr | 1
1.4.00 | CLEAN-UP
1.4.01 |  |  |  | Allow for clean-up upon completion of works. | item | 1
1.5.00 | INSURANCE, BONDS, GUARANTEES AND WARRANTIES
1.5.01 |  |  |  | Insurance: | item | 1
Contractor’s All Risk (CAR) insurance covering physical loss or damage.
Workers' compensation and employer’s liability insurance.
Third-party liability insurance.
1.5.02 |  |  |  | Bonds: | item | 1
Performance bonds ensuring project completion.
Payment bonds ensuring all subcontractors and suppliers are paid.
1.5.03 |  |  |  | Guarantees: | item | 1
Manufacturer guarantees for materials and equipment.
Contractor guarantees for workmanship and materials.
1.6.00 | As-built Drawing
1.6.01 |  |  |  | Rate shall include prodiving as-built upon completion of the work. Include, MEP, achitectural & Structural drawings. | item | 1
1.6.00 | TOTAL OF BILL №: 01 - Carried Over To Summary
2.0.00 |  |  |  | Bill №: 02 - EXCAVATION AND FILLING
2.1.00 | GENERAL
|  |  | (a) | Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating, and disposing surplus soil.
2.2.00 | SITE CLEARING
2.2.1 |  |  |  | Clear the area of site from rubbish and vegetable matters, stumps, roots. | m2 | 1452
2.2.1 |  |  |  | Removal of trees larger than girth 0.6m and clearing the site as required, Rate shall include for backfilling and level to natural ground level after uprooting the vegetations | item | 0
2.3.00 | EXCAVATION
Excavation quantities are measured to the faces of concrete members. Rates shall include for all the additional excavation required to place the formwork. Rates shall include for backfilling.
2.3.1 |  |  |  | Excavation for Foundation pads / beam | m3 | 200.39
2.4.00 | FILLING
Rate shall include for: levelling, grading, trimming, compacting and similar
2.4.01 |  |  |  | Compacted earth filling under ground screed. | m2 | 702.17
2.4.02 |  |  |  | 100mm thick coarse aggregate layer under foundation | m2 | 702.17
2.4.03 |  |  |  | 50mm thick sand blinding below ground slab | m2 | 702.17
2.5.00 | DAMP-PROOF MEMBRANE
Rate shall include for: dressing around and sealing to all penetrations.
2.5.01 |  |  |  | Water Proof Membrane - DPM | m2 | 127.15
2.5.02 |  |  |  | Bituminous coating | m2 | 437.59
2.6.00 | DE-WATERING
2.6.01 |  |  |  | De-watering the excavation until completion of concrete work as required | item | 1
2.7.00 | DEMOLITION
2.7.01 |  |  |  | Demolition of existing building on the site and clearing of debris as necessary | item | 1
2.8.00 | TOTAL OF BILL №: 02 - Carried Over To Summary
3.0.00 |  |  |  | Bill №: 03 - INSITU CONCRETE WORKS
3.1.00 | GENERAL
|  |  | (a) | Rates shall include for: placing in position, making good after removal of formwork, mortar touch up to all concrete and casting in all required items; additional concrete required to conform to structural and excavated tolerances
|  |  | (b) | Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:6.
|  |  | (c) | All structural concrete shall be GRADE M25 and lean concrete shall be GRADE C15
|  |  | (d) | Rates shall include for: concrete, formwork, reinforcement, cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wires and chair supports, laps, distribution bars and wastage.
|  |  | (e) | Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes and removal of formwork.
|  |  | (f) | Rates shall include for: cleaning, fabrication, placing the provision for all necessary temporary fixings and supports including tie wires and chair supports, laps, distribution bars and wastage.
|  |  | (g) | All reinforcing bars shall be high strength bars.
|  |  | (h) | Slab soffits to be finished fairfaced, use plasteciser and formwork with reducing agent.
|  |  | (i) | Waterproofing shall be added to all areas specified.
|  |  | (j) | All works complete as per drawing and specification
3.1.01 |  |  |  | Allow for Concrete Testing. | item | 1
3.2.00 | MASS CONCRETE
Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork.
3.2.01 |  |  | 50 | mm Lean Concrete (Foundations) | m3 | 5.67
REINFORCED INSITU CONCRETE
3.3.00 | SUB-STRUCTURE
FOUNDATION PADS
3.3.01 | 2300 | x | 2300 | x 350mm Foundation pads, F1 | m3 | 7.41
3.3.02 | 1400 | x | 1400 | x 300mm Foundation pads, F2 | m3 | 2.36
3.3.03 | 1250 | x | 1250 | x 300mm Foundation pads, F3 | m3 | 2.82
3.3.04 | 1050 | x | 1050 | x 300mm Foundation pads, F4 | m3 | 3.97
3.3.05 | 950 | x | 950 | x 300mm Foundation pads, F5 | m3 | 2.71
3.3.06 |  |  |  | 16mm dia. Reinforcement bar | t | 0.47
3.3.07 |  |  |  | 12mm dia. Reinforcement bar | t | 0.53
FOUNDATION BEAMS
3.3.08 | 400 | x | 250 | mm Foundation beam, TB1 | m3 | 15.43
3.3.09 | 350 | x | 225 | mm Foundation beam, TB2 | m3 | 9.78
3.3.10 |  |  |  | 16mm x 6m length | t | 2.73
3.3.11 |  |  |  | 12mm x 6m length | t | 0.44
3.3.12 |  |  |  | 6mm x 6m length | t | 0.47
COLUMNS
3.3.13 | 350 | x | 350 | mm Concrete columns C1 | m3 | 0.47
3.3.14 | 325 | x | 325 | mm Concrete columns C2 | m3 | 1.01
3.3.15 | 300 | x | 300 | mm Concrete columns C3 | m3 | 0.52
3.3.16 | 275 | x | 275 | mm Concrete columns C4 | m3 | 0.61
3.3.17 | 275 | x | 275 | mm Concrete columns C5 | m3 | 0.44
3.3.18 |  |  |  | 16mm x 6m length | t | 0.69
3.3.19 |  |  |  | 12mm x 6m length | t | 0.21
3.3.20 |  |  |  | 6mm x 6m length | t | 0.11
3.4.0 | GROUND FLOOR
COLUMNS
3.4.01 | 350 | x | 350 | mm Concrete columns C1 | m3 | 2.26
3.4.02 | 325 | x | 325 | mm Concrete columns C2 | m3 | 4.86
3.4.03 | 300 | x | 300 | mm Concrete columns C3 | m3 | 2.49
3.4.04 | 275 | x | 275 | mm Concrete columns C4 | m3 | 5.85
3.4.05 | 275 | x | 275 | mm Concrete columns C5 | m3 | 2.09
3.4.06 |  |  |  | 16mm x 6m length | t | 1.98
3.4.07 |  |  |  | 12mm x 6m length | t | 0.59
3.4.08 |  |  |  | 6mm x 6m length | t | 0.43
SLABS
3.4.09 |  |  | 100 | mm thk Concrete ground Slab including ramp | m3 | 69.62
3.4.10 |  |  |  | 10mm x 6m length | t | 4.31
3.5.0 | ROOF LEVEL
ROOF BEAMS
3.5.01 | 350 | x | 200 | mm Beam B1 (@ Level1) | m3 | 6.05
3.5.02 | 375 | x | 200 | mm Beam B2 (@ Level1) | m3 | 1.9
3.5.03 | 450 | x | 200 | mm Beam B3 (@ Level1) | m3 | 5.31
3.5.04 | 575 | x | 250 | mm Beam B4 (@ Level1) | m3 | 8.59
3.5.05 |  |  |  | Beam/Gutter B6 (@ Level1) | m3 | 8.57
3.5.06 |  |  |  | Beam/Gutter B7 (@ Level1) | m3 | 11.88
3.5.07 |  |  |  | Beam/Gutter B8 (@ Level1) | m3 | 4.93
3.5.08 | 350 | x | 200 | mm Beam B1 (@ Level2) | m3 | 0.28
3.5.09 | 575 | x | 250 | mm Beam B4 (@ Level2) | m3 | 4.04
3.5.10 | 575 | x | 200 | mm Beam B5 (@ Level2) | m3 | 1.87
3.5.11 | 600 | x | 300 | mm Beam B9 (@ Level2) | m3 | 5.43
3.5.12 |  |  |  | 16mm x 6m length | t | 3.56
3.5.13 |  |  |  | 12mm x 6m length | t | 1.69
3.5.14 |  |  |  | 10mm x 6m length | t | 2.17
3.5.15 |  |  |  | 6mm x 6m length | t | 0.45
SLABS
3.5.16 |  |  | 150 | mm thk Concrete Roof Slab (@ Level1) | m3 | 3.38
3.5.17 |  |  | 150 | mm thk Concrete Roof Slab (@ Level2) | m3 | 10.33
3.5.18 |  |  |  | 10mm x 6m length | t | 1.53
COLUMNS
3.5.19 | 350 | x | 350 | mm Concrete columns C1 | m3 | 0.74
3.5.20 |  |  |  | 16mm x 6m length | t | 0.19
3.5.21 |  |  |  | 6mm x 6m length | t | 0.03
3.6.00 | OTHER WORKS
3.6.01 | 100 | x | 100 | mm Lintel Beam LB | item | 1
3.6.02 | 150 | x | 150 | mm Sill Beam SB | item | 1
3.6.03 |  |  |  | 10mm x 6m length | t | 0.26
3.6.04 |  |  |  | 6mm x 6m length | t | 0.08
3.6.05 | 75 | x | 200 | mm Coping (abulution) | m3 | 0.17
3.6.06 | 100 | x | 300 | mm Coping floor (abulution) | m3 | 0.48
3.6.07 |  |  |  | RC ground well 1100mm dia. | no | 1
3.6.08 |  |  |  | 10mm x 6m length | t | 0.07
3.6.09 |  |  |  | 6mm x 6m length | t | 0.02
3.6.10 |  |  |  | 150mm thick concrete RC arch, 11m length - A1 | m3 | 0.33
3.6.11 |  |  |  | 150mm thick concrete RC arch, 7.4m length - A2 | m3 | 1.11
3.6.12 |  |  |  | 150mm thick concrete RC arch, 4.4m length - A3 | m3 | 0.13
3.6.13 |  |  |  | 150mm thick concrete RC arch, 7.2m length - a1 | m3 | 3.89
3.6.14 |  |  |  | 10mm x 6m length | t | 0.22
3.7.00 |  |  |  | TOTAL OF BILL №: 03 - Carried Over To Summary
4.0.00 |  |  |  | Bill №: 04 - MASONRY
4.1.00 | GENERAL
|  |  | (a) | Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leavingholes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
|  |  | (b) | For masonry and plastering Hilaveli should be used
|  |  | (c) | All works complete as per drawing and specification
4.2.00 | BRICK WORK
150mm thk masonry solid block wall including making of bricks, bricks laid to form alternate courses of headers and stretchers, laid on and inc. mortar. (EXTERNAL WALLS)
4.2.01 |  |  |  | GROUND FLOOR | m2 | 680.14
150mm thk masonry solid block wall including making of bricks, bricks laid to form alternate courses of headers and stretchers, laid on and inc. mortar (INTERNAL WALLS).
4.2.02 |  |  |  | GROUND FLOOR | m2 | 309.84
4.3.00 | PLASTERING
20mm thk cement plaster including 10mm thick render emboss on external surface as specified on the drawing. Waterproofed with Sika product or equivalent.
4.3.01 |  |  |  | GROUND FLOOR | m2 | 896.41
16mm thk cement plaster on internal surface as specified on the drawing
4.3.02 |  |  |  | GROUND FLOOR | m2 | 1576.16
25mm thk cement plaster on arches/openings as specified on the drawing
4.3.03 |  |  | 9.1 | sqm opening, 11m length - A1 | no | 1
4.3.04 |  |  | 4.5 | sqm opening, 7.4m length - A2 | no | 5
4.3.05 |  |  | 1.63 | sqm opening, 4.4m length - A3 | no | 1
4.3.06 |  |  | 2.2 | sqm arch opening, 7.2m length - a1 | no | 18
4.4.00 | CEMENT SCREED
4.4.01 |  |  |  | 50mm thk cement screed waterproofed with SIKA product or equivalent | m2 | 705.1
4.5.00 |  |  |  | TOTAL OF BILL №: 04 - Carried Over To Summary
5.0.00 |  |  |  | Bill №: 05 - STRUCTURAL METAL WORKS
5.1.00 | GENERAL
|  |  | (a) | Rates shall include for: all fabrication work, welding, marking, drilling for bolts incl. those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
|  |  | (b) | Rates shall include for fabrication and erection and temporary supports and fixing into position.
|  |  | (c) | All works complete as per drawing and specification
5.2.00 | RAMP HAND RAILING
SS pipe railing handle, including bolts, washers and fixing to reinforced concrete as shown in the drawing.
5.2.01 |  |  |  | Ramp - 4000mm length | no | 4
5.3.00 | GI ROOF FRAMING
GI pipe truss, including welding, bolting, washers and fixing to reinforced concrete as shown in the drawing.
5.3.01 |  |  |  | Truss (span 20.7m) - TR 1 | no | 3
5.3.02 |  |  |  | Truss (span 5.4m) - TR 2 | no | 6
5.3.03 |  |  |  | Truss (span 9.6m) - TR 4 | no | 1
50x100mm C purlin, including welding to truss, bolting, washers and fixing to positing as shown in the drawing.
5.3.04 |  |  |  | C Purlins | m | 383.2
5.4.00 | DOME
5.4.01 |  |  |  | 7000mm dia GEODESIC Dome to manufacturers specification. | item | 1
5.5.00 |  |  |  | TOTAL OF BILL №: 05 - Carried Over To Summary
6.0.00 |  |  |  | Bill №: 06 - CARPENTRY
6.1.00 | GENERAL
|  |  | (a) | Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
|  |  | (b) | All works complete as per drawing and specification
6.2.00 | TIMBER ROOF FRAMING
Timber roof framing as per drawing
6.2.01 |  |  |  | 50 x 150mm timber rafter. | m | 381.1
6.2.02 |  |  |  | 50 x 50mm timber battens. | m | 430.6
6.2.03 |  |  |  | 50 x 150mm timber fascia. | m | 97.1
6.2.04 |  |  |  | 50 x 80mm timber barier. | m | 97.1
6.3.00 | FIXED FURNITURE
Timber works including requied finishes
6.3.01 |  |  |  | Timber book shelf to design 5675 x 1500mm | no | 2
6.3.02 |  |  |  | Timber Mimbar chair including fixing to floor as per drawing | item | 1
6.3.03 |  |  |  | 25mm thick Timber podium as per drawing | item | 1
6.3.04 |  |  |  | Mihrab back wall feature with timber frame and 'KURUSI AYATH' as specified in the drawing | item | 1
6.4.00 | TIMBER FLOORING
Timber flooring/steps works including requied finishes
6.4.01 |  |  |  | Mimbar area | m2 | 2.7
6.5.00 | PARTITION
6.5.01 |  |  |  | Movable privacy partion, 1200 x 2000mm hight as specified in the drawing. | no | 1
6.6.00 |  |  |  | TOTAL OF BILL №: 06 - Carried Over To Summary
7.0.00 |  |  |  | Bill №: 07 - CEILING
7.1.00 | GENERAL
|  |  | (a) | Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
|  |  | (b) | All works complete as per drawing and specification
7.2.00 | CEILING
7.2.01 |  |  |  | False flat ceiling with 6mm thick gypsum board under 50x50mm ceiling joist as per drawing. | m2 | 549.17
7.3.00 |  |  |  | TOTAL OF BILL №: 07 - Carried Over To Summary
8.0.00 |  |  |  | Bill №: 08 - WINDOWS, SCREENS & LIGHTS
8.1.00 | GENERAL
|  |  | (a) | Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
|  |  | (b) | Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings.
|  |  | (c) | Sizes are given overall outside dimensions of actual doors and windows.
|  |  | (d) | Thickness and sizes of glass panels are shown on the Drawings and doors and windows schedule
|  |  | (e) | Rates shall include for all painting as specified
|  |  | (f) | Rates shall include all items specified in the door schedule and specification.
|  |  | (g) | Frames and sashes to be 25-60 micron black powder coated aluminium other wise specified.
|  |  | (h) | All works complete as per drawing and specification
8.2.00 | WINDOWS
8.2.01 | 750 | x | 500 | W1 - Aluminium window | nr | 6
8.2.02 | 750 | x | 900 | W2 - Aluminium window | nr | 4
8.2.03 | 900 | x | 2700 | W3 - Aluminium window | nr | 18
8.2.04 | 900 | x | 375 | B1 - Glass block | nr | 8
8.3.00 |  |  |  | TOTAL OF BILL №: 08 - Carried Over To Summary
9.0.00 |  |  |  | Bill №: 09 - DOORS, SHUTTERS & HATCHES
9.1.00 | GENERAL
|  |  | (a) | Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
|  |  | (b) | Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings.
|  |  | (c) | Sizes are given overall outside dimensions of actual doors and windows.
|  |  | (d) | Thickness and sizes of glass panels are shown on the Drawings and doors and windows schedule.
|  |  | (e) | Rates shall include for all painting as specified
|  |  | (f) | Rates shall include all items specified in the door schedule and specification.
|  |  | (g) | Frames and sashes to be 25-60 micron black powder coated aluminium other wise specified.
|  |  | (h) | All solid timber doors are teak timber or equivalent.
9.2.00 | DOORS
9.2.01 | 650 | x | 2100 | D1 - Aluminium frame door | nr | 4
9.2.02 | 900 | x | 2100 | D2 - Aluminium frame door | nr | 4
9.2.03 | 750 | x | 2100 | D4 - Aluminium frame door | nr | 4
9.2.04 | 1800 | x | 3400 | D5 - Aluminium frame door | nr | 7
9.3.00 |  |  |  | TOTAL OF BILL №: 09 - Carried Over To Summary
10.0.00 |  |  |  | Bill №: 10 - DECORATIONS
10.1.00 | GENERAL
|  |  | (a) | Rates shall include for: the provision, erection and removal of scaffolding, preparation, wall putty application, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door & window furniture.
|  |  | (b) | All painting work shall be carried in accordance with the Specifications.
10.2.00 | WALL PAINTING
EXTERNAL SURFACES
10.2.01 |  |  |  | Exterior grade weathershield solar reflective emulsion paint finish in general and including 10mm cement render emboss with textured finish on specified areas- P2 | m2 | 556.6
INTERNAL SURFACES:
10.2.02 |  |  |  | Interior grade vinyl acrylic emulsion paint finish as specified - P1 | m2 | 669.83
10.2.03 |  |  |  | Interior grade vinyl acrylic emulsion paint finish with featured wall of verses from Quran as specified - P1, FW | m2 | 58.01
10.2.04 |  |  |  | Decorative interior column, 350 x 350 x 3975mm height as per drawing | no | 2
10.3.00 | CEILING PAINTING
Anti microbial paint coatings as specified in specification and finishing schedule
10.3.01 |  |  |  | Gypsum board ceiling | m2 | 549.17
Anti microbial paint coatings as specified in specification and finishing schedule
10.3.02 |  |  |  | Slab soffit | m2 | 91.32
10.4.00 | CEILING PAINTING
10.4.1 |  |  |  | Masjid Name Board with cut out Letter and Backlighting (Design and suply) should be approved from the client | nos | 1
10.4.00 |  |  |  | TOTAL OF BILL №: 10 - Carried Over To Summary
11.0.00 |  |  |  | Bill №: 11 - FINISHES
11.1.00 | GENERAL
|  |  | (a) | Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing.
11.2.00 |  |  |  | FLOOR PAINTING
11.2.01 |  |  |  | Epoxy paint finish on polished floor screed - C1 | m2 | 18
11.3.00 |  |  |  | FLOOR TILING
Floor tiling as specified
11.3.01 |  |  |  | 1200 x 600mm homogeneous textured floor tile with 200 x 150mm floor lines - T1 | m2 | 438
11.3.02 |  |  |  | 600 x 600mm homogeneous textured floor tile - T2 | m2 | 155.27
11.3.03 |  |  |  | 300 x 600mm homogeneous nonslip floor tile - T3 | m2 | 43.4
11.3.04 |  |  |  | 300 x 600mm homogeneous anti slip step tile with nosing tiles - T4 | m2 | 53.6
11.4.00 |  |  |  | PAVING
11.4.01 |  |  |  | Cement paving blocks in paved area - R1 | m2 | 139
11.5.00 |  |  |  | WALL TILING
300 x 600 Ceramic wall Tiles upto ceiling height - T6
11.5.01 |  |  |  | Abulution area | m2 | 132.36
11.6.00 |  |  |  | TOTAL OF BILL №: 11 - Carried Over To Summary
12.0.00 |  |  |  | Bill №: 12- ROOFING
12.1.01 | GENERAL
|  |  | (a) | Rates shall include for: fair edges, dressing over angel fillets, roof sealant, turning into grooves, all other labours, circular edges, nails, screws and other fixings and laps.
|  |  | (b) | All works complete as per drawing and specification
12.2.00 | ROOF COVERING
12.2.01 |  |  |  | BHP Lysaght Trimdek Hi-Ten or equivalent roofing sheet, over C purlin frame including all fixings, fixed in accordance with manufacturer's instructions. | m² | 642.39
12.2.02 |  |  |  | 50mm mineral wool insulation inbetween purlins and PVC net to hold the insulation | m² | 642.39
12.3.00 | CAPPING
12.3.01 |  |  |  | Lysaght ridge Flashing as per drawing | m | 87.35
12.3.02 |  |  |  | Lysaght Flashing as per drawing | m | 44.52
12.4.00 | GUTTER
12.4.01 |  |  |  | Zinc gutter 150 x 150mm with gutter strap fixed to purlins | m | 83.7
12.5.00 | DRAIN PIPE
12.5.01 |  |  |  | 100mm dia. Drain pipe with wiremesh gutter strainer | m | 41
12.6.00 |  |  |  | TOTAL OF BILL №: 12 - Carried Over To Summary
13.0.00 |  |  |  | Bill №: 13 - HYDRAULICS AND DRAINAGE
13.1.00 | HYDRAULICS
13.2.00 | GENERAL
|  |  | (a) | Rates shall include for: sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints; backnuts and similar; incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails and fixing complete including cutting and forming holes; excavating, laying pipes and backfilling trenches.
|  |  | (b) | Rate shall also includes the provision for pipe marking, and tagging as indicated in the specifications.
|  |  | (c) | Rate shall also includes the provisional sum for testing such as but not limited to hydrostatic pressure test for pressure line, and gravity leak test for all gravity lines which was stipulated in the specifications., chlorination/disinfection of network and tanks, and testing and commissioning.
|  |  | (d) | Rate includes the complete delivery of the system and is of working condition.
|  |  | (e) | All pipe work and fittings shall be uPVC.
|  |  | (f) | All works complete as per drawing and specification
13.3.00 | FRESH WATER SUPPLY NETWORK
13.3.01 |  |  |  | GROUND FLOOR | item | 1
13.4.00 | RAIN PIPEWORK
13.4.01 |  |  |  | GROUND FLOOR | item | 1
13.5.00 | SANITARY FITTINGS
Sanitary fittings including installations as per drawings
13.5.01 |  |  |  | Floor drain gully trap | nr | 17
13.5.02 |  |  |  | WC | nr | 5
13.5.03 |  |  |  | Hand shower bidet | nr | 7
13.5.04 |  |  |  | Water supply tapping point | nr | 8
13.5.05 |  |  |  | Water tap | nr | 16
13.5.06 |  |  |  | Hose bib | nr | 7
13.5.07 |  |  |  | Soap holder | nr | 5
13.5.08 |  |  |  | Isolation valve | nr | 6
13.5.09 |  |  |  | Floor clean out | nr | 8
13.5.10 |  |  |  | Railing set (horizontal & vertical) | nr | 2
DRAINAGE
13.6.00 | GENERAL
|  |  | (a) | Rates shall include for: excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus spoil; bends, junctions, reducers, expansion joints and all joints and other incidental materials.
|  |  | (b) | All pipeworks shall be uPVC.
|  |  | (c) | All works complete as per drawing and specification
13.7.00 | DRAINAGE PIPEWORKS
13.7.01 |  |  |  | GROUND FLOOR | item | 1
13.8.00 | OTHERS
13.8.01 |  |  |  | Underground Rain water tank 2m dia, 6.00m3 | no | 1
13.8.02 |  |  |  | Ground water well, 1m dia. | no | 1
13.8.03 |  |  |  | Pump chamber, 500 x 1450mm | no | 1
13.8.04 |  |  |  | Inspection chamber, 400mm dia | no | 1
13.8.05 |  |  |  | 300mm width SS grated gutter drain (ablution area) | m | 29.36
13.13.00 |  |  |  | TOTAL OF BILL №: 13 - Carried Over To Summary
14.0.00 |  |  |  | Bill №: 14 - ELECTRICAL INSTALLATIONS
14.1.00 | GENERAL
|  |  | (a) | Design, provide and install electrical network for the entire building complete in accordance to standards set by the local governing body STELCO / FENAKA.
|  |  | (b) | The following items and description and the drawings HULS -01 to HULS-05 are given as a guidance as to the nature of the information required to be returned by the contractor. Should they not be appropriate the contractor should provide a similar BOQ using the Additions/Ommisions sheets provided at the back of this BOQ.
|  |  | (c) | The cost shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
|  |  | (d) | The cost shall also include for trenching including: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil.
|  |  | (e) | Rates for electrical isolators, conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces.
|  |  | (f) | A light fixture is measured as one point; switch end of wire is not included in the quantity.
|  |  | (g) | A point wiring for power points is measured (regardless of 1 gang, 2 gang etc) as one point for each socket outlet; other end of wire is not included in the quantity.
|  |  | (h) | Contractor shall provide all cabling, wiring, conduits, etc. within the site boundaries. Cabling, wiring, conduits etc. outside the site boundaries are not included under this Contract.
|  |  | (i) | All works complete as per drawing and specification
14.2.00 | MAINS CONNECTION & BOARD
14.2.01 |  |  |  | Allow for connection to electrical mains | item | 1
14.3.00 | ELECTRICAL BOARDS
Complete installation, including for all cabling, wiring, connections, earthing, painting, testing and similar of:
14.3.01 |  |  |  | Light, Power & AC Distribution Board | nr | 9
14.4.00 | ELECTRICAL WIRING
Electrical wiring with copper conductor cable in conduits in walls and in casing on soffits of slab as specified to:
14.4.01 |  |  |  | Wiring To Lights, Fittings socket | pt | 437
14.5.00 | LIGHTING
14.5.01 |  |  | LF05 | 17W,230V,4000K, wall light, IP55 | nr | 103
14.5.02 |  |  | LF10 | 5W/M, 230V, 3000K, LED strip light | m | 22.8
14.5.03 |  |  | LF14 | 28W,230V,4000K, surface mounted downlight Type-2 | nr | 95
14.5.04 |  |  | LF20 | 17W,230V,3000K, recessed downlight | nr | 21
14.5.05 |  |  | LF25 | 18W,230V,3000K, ceiling mounted recessed light | nr | 15
14.5.06 |  |  | LF26 | 70W,230V,3000K, pole mounted outdoor light | nr | 11
14.5.07 |  |  | LF27 | 500W,230V,3000K, chandelier | nr | 3
14.5.08 |  |  | LF11a | 6W,230V,3000K, bollard light type A | nr | 14
14.5.09 |  |  |  | Emergency Light | nr | 16
14.6.00 | FAN
14.6.01 |  |  |  | Ceiling mounted fan | nr | 41
14.7.00 | SWITCHES
14.7.01 |  |  |  | Light switch 1gang, 1way | nr | 46
14.8.00 | SOCKETS
14.8.01 |  |  |  | 13A, switch type, single power outlet | nr | 47
14.8.02 |  |  |  | 15A, switch type, single power outlet | nr | 22
14.8.03 |  |  |  | Isolator 3 P | nr | 3
14.9.00 | IT
14.9.01 |  |  |  | Data outlet | nr | 2
14.9.02 |  |  |  | Speakers 30W wall fixed shall be "JBL", "Bose" or equivalent (White color) | nr | 15
14.9.03 |  |  |  | Wireless Headworn mic shall be "Sennheiser", "SHURE" or Equivalent | nr | 3
14.9.04 |  |  |  | Audio Mixer (8 Channel), phantom power shall be "YAMAHA", "Sound Craft" or Equivalent | nr | 1
14.9.05 |  |  |  | Imaam biometric (ZKT or equiv) | nr | 1
14.9.06 |  |  |  | 12U-IT rack | nr | 1
14.9.07 |  |  |  | 2kVA UPS | nr | 1
14.9.08 |  |  |  | Microphone Cable with Connection Jacks and Extension | nr | 1
14.9.09 |  |  |  | Adjustable mic stand with round Base | nr | 1
14.9.10 |  |  |  | Amplifier 360w, 100v (Line 6, or YAMAHA or equiv) | nr | 2
14.10.00 | AIR CONDITION AND VENTILATION
a. All the ACV equipment should be Anti corrosive
b. The minimum Energy efficient value for AC [EER] Should be 3.5 [KW/KW]
Rates shall include for complete installation of units
14.10.01 |  |  |  | Outdoor Unit 24KW-VRF | nr | 1
14.10.02 |  |  |  | Outdoor Unit 104KW-VRF | nr | 2
14.10.03 |  |  |  | Outdoor Unit side discharge 2.8KW | nr | 1
14.10.04 |  |  |  | 4 way cassette unit, 14KW | nr | 8
14.10.05 |  |  |  | 4 way cassette unit, 16KW | nr | 6
14.10.06 |  |  |  | 4 way cassette unit, 8KW | nr | 3
14.10.07 |  |  |  | Wall mounted AC unit, 2.8KW | nr | 1
14.10.08 |  |  |  | Wall mounted exhaust fan, 60L/S | nr | 1
14.10.09 |  |  |  | Wall mounted exhaust fan, 80L/S | nr | 2
14.10.10 |  |  |  | Wall mounted exhaust fan, 75L/S | nr | 2
14.10.11 |  |  |  | Air grill damper | nr | 6
14.10.12 |  |  |  | Exhaust air Louver with bird screen, 150 x 150mm | nr | 5
14.10.13 |  |  |  | Exhaust air Louver with bird screen, 200 x 200mm | nr | 8
14.10.14 |  |  |  | Exhaust air Louver with bird screen, 250 x 250mm | nr | 2
14.10.15 |  |  |  | Fresh air Louver with bird screen, 200 x 200mm | nr | 1
14.10.16 |  |  |  | Exhaust air Louver with bird screen, 150 x 100mm | nr | 6
14.10.17 |  |  |  | Refrigent pipes with insulation | item | 1
14.10.18 |  |  |  | AC drain pipes with insulation | item | 1
14.10.19 |  |  |  | Supply air duct with thermal insulation | item | 1
14.10.20 |  |  |  | Return air duct with thermal insulation | item | 1
14.10.21 |  |  |  | 150 x 150mm exhaust air duct, 50L/S, | item | 1
14.10.22 |  |  |  | 100 x 100mm exhaust air duct, 25L/S, | item | 1
14.11.00 |  |  |  | TOTAL OF BILL №: 14 - Carried Over To Summary
15.0.00 |  |  |  | Bill №: 15- INSULATION, FIRE STOPPING & FIRE PROTECTION
15.1.00 | GENERAL
|  |  | (a) | Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
|  |  | (b) | Rates for cable conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces
|  |  | (c) | Rates shall include for all necessary electrical wiring and accessories required for completion as per drawing and specification
|  |  | (d) | All items shall be supply and complete installation
|  |  | (e) | All works complete as per drawing and specification
15.2.00 | FIRE FIGHTING SYSTEM
15.2.01 |  |  |  | 2Kg Carbondioxide fire Extinguishers | nr | 3
15.2.02 |  |  |  | 9Liters H2O fire Extinguishers | nr | 3
15.2.03 |  |  |  | Smoke detectors | nr | 13
15.2.04 |  |  |  | Manual call point | nr | 3
15.2.05 |  |  |  | Exist sign light | nr | 8
15.2.06 |  |  |  | Fire Alarm control panel | nr | 1
15.2.07 |  |  |  | Fire alarm sounder with strobe light 95DB | nr | 3
15.2.08 |  |  |  | Fire resistance cable | item | 1
15.3.00 |  |  |  | TOTAL OF BILL №: 15 - Carried Over To Summary
16.0.00 |  |  |  | Bill №: 16 - SOLAR PANEL
16.1.00 | GENERAL
|  |  | (a) | The price includes all builders’ works, making good and reinstatement including necessary materials and workmanship as well as removal of unwanted materials to dump sites approved by the engineer to complete the job successfully. • All the following items include supply, install, commission and operate of the complete PV solar system
|  |  | (b) | The contractor shall submit for approval technical data regarding the panels to the consultant prior to procuring the solar panels
|  |  | (c) | All the following items include supply, install, commission and operate of the complete solar panel system
|  |  | (d) | All works complete as per drawing and specification
16.2.00 | SOLAR PANELS
16.2.01 |  |  |  | Supply, Installation testing and commisssionin of 88nos 430 WP Capacity PV solar panels, Rate to include all the necessary Panels modulars,inverters as specified in drawings & specifications | item | 1
16.3.00 |  |  |  | TOTAL OF BILL №: 16 - Carried Over To Summary
17.0.00 |  |  |  | Bill №: 17 - MINARET
17.1.00 | GENERAL
17.1.01 |  |  |  | Refer to above general notes
17.2.00 | EXCAVATION
17.2.01 |  |  |  | Excavation for Foundation raft | m3 | 15.87
17.3.00 | FILLING
17.3.01 |  |  |  | Compacted earth filling under ground screed. | m2 | 3.33
17.3.02 |  |  |  | Compacted coarse aggregate layer under foundation | m2 | 10.24
17.3.03 |  |  |  | 50mm thick sand blinding below ground slab | m2 | 3.33
17.4.00 | DAMP-PROOF MEMBRANE
17.4.01 |  |  |  | Water Proof Membrane - DPM | m2 | 11.36
17.4.02 |  |  |  | Bituminous coating | m2 | 14.24
17.5.00 | MASS CONCRETE
17.5.01 |  |  | 50 | mm Lean Concrete (Foundations) | m3 | 0.51
17.6.00 | REINFORCED INSITU CONCRETE
FOUNDATION
17.6.01 | 3200 | x | 3200 | x 350mm Foundation raft | m3 | 3.59
17.6.02 | 450 | x | 500 | mm Foundation beam, FB1 | m3 | 0.36
17.6.03 | 450 | x | 350 | mm Foundation beam, FB2 | m3 | 0.76
17.6.04 | 400 | x | 200 | mm Concrete columns, C1 | m3 | 0.06
17.6.05 | 250 | x | 250 | mm Concrete columns, C2 | m3 | 0.14
17.6.06 |  |  |  | 12mm x 6m length | t | 0.26
17.6.07 |  |  |  | 20mm x 6m length | t | 0.13
17.6.08 |  |  |  | 10mm x 6m length | t | 0.08
17.6.09 |  |  |  | 16mm x 6m length | t | 0.05
UP TO FIRST LEVEL
17.6.10 |  |  | 75 | mm thk Ground Slab | m3 | 0.24
17.6.11 |  |  | 130 | mm thk 1st level Slab | m3 | 0.2
17.6.12 | 300 | x | 200 | mm Floor beam, B1 | m3 | 0.11
17.6.13 | 350 | x | 250 | mm Floor beam, B2 | m3 | 0.08
17.6.14 | 350 | x | 400 | mm Floor beam, B3 | m3 | 0.13
17.6.15 | 400 | x | 200 | mm Concrete columns, C1 | m3 | 0.28
17.6.16 | 250 | x | 250 | mm Concrete columns, C2 | m3 | 0.65
17.6.17 |  |  |  | 6mm x 6m length | t | 0.03
17.6.18 |  |  |  | 10mm x 6m length | t | 0.04
17.6.19 |  |  |  | 16mm x 6m length | t | 0.2
UP TO SECOND LEVEL
17.6.20 | 300 | x | 200 | mm Floor beam, B1 | m3 | 0.19
17.6.21 | 250 | x | 200 | mm Concrete columns, C3 | m3 | 0.47
17.6.22 |  |  |  | 6mm x 6m length | t | 0.02
17.6.23 |  |  |  | 16mm x 6m length | t | 0.13
UP TO THIRD LEVEL
17.6.24 |  |  | 130 | mm thk 3rd level Slab | m3 | 0.33
17.6.25 | 300 | x | 200 | mm Floor beam, B1 | m3 | 0.17
17.6.26 | 200 | x | 200 | mm Concrete columns, C4 | m3 | 0.38
17.6.27 |  |  |  | 6mm x 6m length | t | 0.01
17.6.28 |  |  |  | 16mm x 6m length | t | 0.09
UP TO FOURTH LEVEL
17.6.29 |  |  | 130 | mm thk 3rd level Slab | m3 | 0.22
17.6.30 | 300 | x | 200 | mm Floor beam, B1 | m3 | 0.34
17.6.31 | 200 | x | 200 | mm Concrete columns, C4 | m3 | 0.28
17.6.32 |  |  |  | 6mm x 6m length | t | 0.02
17.6.33 |  |  |  | 16mm x 6m length | t | 0.09
UP TO TOP LEVEL
17.6.34 | 300 | x | 200 | mm Floor beam, B1 | m3 | 0.1
17.6.35 | 200 | x | 200 | mm Concrete columns, C4 | m3 | 0.14
17.6.36 |  |  |  | 6mm x 6m length | t | 0.01
17.6.37 |  |  |  | 16mm x 6m length | t | 0.04
17.7.00 | BRICK WORK
150mm thick external wall
17.7.01 |  |  |  | UP TO 1ST LEVEL | m2 | 20.51
17.7.02 |  |  |  | UP TO 2ND LEVEL | m2 | 12.49
17.7.03 |  |  |  | UP TO 3RD LEVEL | m2 | 12.49
17.7.04 |  |  |  | UP TO 4TH LEVEL | m2 | 12
17.7.05 |  |  |  | UP TO TOP LEVEL | m2 | 2.72
17.8.00 | PLASTERING
20mm thk cement plaster on external surface
17.8.01 |  |  |  | UP TO 1ST LEVEL | m2 | 22.4
17.8.02 |  |  |  | UP TO 2ND LEVEL | m2 | 13.4
17.8.03 |  |  |  | UP TO 3RD LEVEL | m2 | 13.33
17.8.04 |  |  |  | UP TO 4TH LEVEL | m2 | 13.68
17.8.05 |  |  |  | ROOF LEVEL | m2 | 3.68
15mm thk cement plaster on internal surface
17.8.06 |  |  |  | UP TO 1ST LEVEL | m2 | 21.64
17.8.07 |  |  |  | UP TO 2ND LEVEL | m2 | 13.4
17.8.08 |  |  |  | UP TO 3RD LEVEL | m2 | 13.33
17.8.09 |  |  |  | UP TO 4TH LEVEL | m2 | 13.68
17.9.00 | WINDOWS / DOORS
17.9.01 | 150 | x | 150 | Glass block, @ 2nd level | nr | 34
17.9.02 | 150 | x | 150 | Glass block, @ 3rd level | nr | 34
17.9.03 | 150 | x | 150 | Glass block, @ 4th level | nr | 4
17.9.04 | 750 | x | 2100 | D3 - Solid Timber door | nr | 1
17.9.05 | 1100 | x | 1100 | Aluminium Panel excess hatch cover | nr | 1
17.10.00 | PAINTING
Exterior grade wall paint finish,
17.10.01 |  |  |  | UP TO 1ST LEVEL | m2 | 22.4
17.10.02 |  |  |  | UP TO 2ND LEVEL | m2 | 13.4
17.10.03 |  |  |  | UP TO 3RD LEVEL | m2 | 13.33
17.10.04 |  |  |  | UP TO 4TH LEVEL | m2 | 13.68
17.10.05 |  |  |  | ROOF LEVEL | m2 | 3.68
Interior grade wall paint finish,
17.10.06 |  |  |  | UP TO 1ST LEVEL | m2 | 21.64
17.10.07 |  |  |  | UP TO 2ND LEVEL | m2 | 13.4
17.10.08 |  |  |  | UP TO 3RD LEVEL | m2 | 13.33
17.10.09 |  |  |  | UP TO 4TH LEVEL | m2 | 13.68
Interior grade ceiling paint finish,
17.10.10 |  |  |  | 1ST LEVEL slab soffit | m2 | 1.56
17.10.11 |  |  |  | 3RD LEVEL slab soffit | m2 | 2.56
17.10.12 |  |  |  | 4TH LEVEL slab soffit | m2 | 1.68
17.11.00 | TILING
17.11.01 |  |  |  | 300 x 600mm homogeneous textured floor tile - T1 | m2 | 1.61
17.12.00 | ELECTRICAL
17.12.01 |  |  |  | Earth rod 18mm x 1m deep ground (4no) with lightning counter including LAVATA 25x3CU solid tape eritech ericore or equivalent down conductor | item | 1
17.12.02 |  |  |  | Eritech® dynasphere air terminal or equivalent lightning arrester anchored to concrete beam | item | 1
17.12.03 |  |  |  | Horn Loudspeaker 75W (TOA or equiv) | nr | 2
17.12.04 |  |  |  | Amplifier 360w, 100v (Line 6, or YAMAHA or equiv) | nr | 1
17.13.00 | MISCELLANEOUS
17.13.01 |  |  |  | Chrome crescent inside metal panel to design as per drawing. | item | 1
17.14.00 |  |  |  | TOTAL OF BILL №: 17 - Carried Over To Summary
18.0.00 |  |  |  | Bill №: 18 - BOUNDARY WALL
18.1.00 | GENERAL
18.1.01 |  |  |  | Refer to above general notes
18.2.00 | EXCAVATION
18.2.01 |  |  |  | Excavation for Foundation beam | m3 | 30.08
18.3.00 | DAMP-PROOF MEMBRANE
18.3.01 |  |  |  | Water Proof Membrane - DPM | m2 | 96.24
18.3.02 |  |  |  | Bituminous coating | m2 | 96.24
18.4.00 | MASS CONCRETE
18.4.01 |  |  | 50 | mm Lean Concrete (Foundations) | m3 | 3.01
18.5.00 | REINFORCED INSITU CONCRETE
18.5.01 | 250 | x | 300 | mm Foundation beam, FB1 | m3 | 9.03
18.5.02 | 200 | x | 200 | mm Concrete columns, C1 | m3 | 1.19
18.5.03 | 150 | x | 600 | mm Concrete gate way marker | m3 | 1.5
18.5.04 |  |  |  | 12mm x 6m length | t | 0.63
18.5.05 |  |  |  | 10mm x 6m length | t | 0.2
18.5.06 |  |  |  | 6mm x 6m length | t | 0.21
18.6.00 | BRICK WORK
18.6.01 |  |  |  | 150mm thick boundary wall | m2 | 132.33
18.7.00 | PLASTERING
18.7.01 |  |  |  | 25mm thk cement plaster on both surface with 50mm thick groove line as specified in the drawing. | m2 | 264.66
18.8.00 | PAINTING
18.8.01 |  |  |  | Exterior grade wall paint including putty finish on both side of wall and concrete surface, | m2 | 284.46
18.9.00 | ELECTRICAL
18.9.01 |  |  |  | Globe light with frosted cover | no | 11
18.9.02 |  |  |  | LED strip light 1.15m with transparent cover on getway marker column | no | 11
18.10.00 |  |  |  | TOTAL OF BILL №: 18 - Carried Over To Summary
19.0.00 |  |  |  | Bill №: 19 - LIBRARY
19.1.00 | GENERAL
19.1.01 |  |  |  | Refer to above general notes
19.2.00 | EXCAVATION
19.2.01 |  |  |  | Excavation for Foundation raft | m3 | 23.96
19.3.00 | FILLING
19.3.01 |  |  |  | Compacted earth filling under ground screed. | m2 | 84.83
19.3.02 |  |  |  | Compacted coarse aggregate layer under foundation | m2 | 84.83
19.3.03 |  |  |  | 50mm thick sand blinding below ground slab | m2 | 84.83
19.4.00 | DAMP-PROOF MEMBRANE
19.4.01 |  |  |  | Water Proof Membrane - DPM | m2 | 19.17
19.4.02 |  |  |  | Bituminous coating | m2 | 73.82
19.5.00 | MASS CONCRETE
19.5.01 |  |  | 50 | mm Lean Concrete (Foundations) | m3 | 0.96
19.6.00 | REINFORCED INSITU CONCRETE
FOUNDATION
19.6.01 | 950 | x | 950 | x 300mm Foundation pads, F5 | m3 | 2.17
19.6.02 | 350 | x | 225 | mm Foundation beam, TB2 | m3 | 4.19
19.6.03 | 275 | x | 275 | mm Concrete columns C4 | m3 | 0.76
19.6.04 |  |  |  | 12mm x 6m length | t | 0.34
19.6.05 |  |  |  | 16mm x 6m length | t | 0.34
19.6.06 |  |  |  | 6mm x 6m length | t | 0.1
GROUND FLOOR
19.6.07 |  |  | 100 | mm thk Ground Slab | m3 | 9.08
19.6.08 | 275 | x | 275 | mm Concrete columns C4 | m3 | 0.76
19.6.09 | 350 | x | 200 | mm Roof Beam B1 | m3 | 0.11
19.6.10 | 375 | x | 200 | mm Roof Beam B2 | m3 | 0.08
19.6.11 |  |  |  | 6mm x 6m length | t | 0.13
19.6.12 |  |  |  | 12mm x 6m length | t | 0.45
19.7.00 | BRICK WORK
150mm thick external wall
19.7.01 |  |  |  | GROUND FLOOR | m2 | 139.72
19.8.00 | PLASTERING
20mm thk cement plaster on external surface
19.8.01 |  |  |  | GROUND FLOOR | m2 | 134.7
16mm thk cement plaster on internal surface
19.8.02 |  |  |  | GROUND FLOOR | m2 | 120.67
19.9.00 | CEMENT SCREED
19.9.01 |  |  |  | 50mm thk cement screed waterproofed with SIKA product or equivalent | m2 | 84.83
19.10.00 | GI ROOF FRAMING
GI pipe truss, including welding, bolting, washers and fixing to reinforced concrete as shown in the drawing.
19.10.01 |  |  |  | Truss (span 7.3m) - TR 3 | no | 4
50x100mm C purlin, including welding to truss, bolting, washers and fixing to positing as shown in the drawing.
19.10.02 |  |  |  | C Purlins | m | 130
19.11.00 | CEILING
19.11.01 |  |  |  | False flat ceiling with 6mm thick gypsum board under 50x50mm ceiling joist as per drawing. | m2 | 84.83
19.12.00 | WINDOWS / DOORS
19.12.01 | 1000 | x | 1500 | W4 - Aluminium window | nr | 6
19.12.02 | 1000 | x | 2450 | W5 - Aluminium window | nr | 5
19.12.03 | 1200 | x | 2800 | D6 - Aluminium frame door | nr | 1
19.13.00 | PAINTING
19.13.01 |  |  |  | Exterior grade wall paint finish - P2 | m2 | 134.7
19.13.02 |  |  |  | Interior grade wall paint finish - P1 | m2 | 120.67
19.13.03 |  |  |  | Gypsum board ceiling paint finish - P1 | m2 | 84.83
19.14.00 | TILING
19.14.01 |  |  |  | 600 x 600mm homogeneous textured floor tile - T2 | m2 | 84.83
19.15.00 | ROOF COVERING
19.15.01 |  |  |  | BHP Lysaght Trimdek Hi-Ten or equivalent roofing sheet, over C purlin frame including all fixings, fixed in accordance with manufacturer's instructions. | m² | 100.5
19.15.02 |  |  |  | 50mm mineral wool insulation inbetween purlins and PVC net to hold the insulation | m² | 100.5
19.16.00 | CAPPING
19.16.01 |  |  |  | Lysaght ridge Flashing as per drawing | m | 13.4
19.16.02 |  |  |  | Lysaght Flashing as per drawing | m | 15
19.17.00 | GUTTER
19.17.01 |  |  |  | Zinc gutter 150 x 150mm with gutter strap fixed to purlins | m | 13.4
19.18.00 | DRAIN PIPE
19.18.01 |  |  |  | 100mm dia. Drain pipe with wiremesh gutter strainer | m | 9
19.19.00 | ELECTRICAL
19.19.01 |  |  |  | Light, Power & AC Distribution Board | nr | 1
19.19.02 |  |  |  | Wiring To Lights, Fittings socket | pt | 45
19.19.03 |  |  | LF05 | 17W,230V,4000K, wall light, IP55 | nr | 4
19.19.04 |  |  | LF25 | 18W,230V,3000K, ceiling mounted recessed light | nr | 15
19.19.05 |  |  |  | Ceiling mounted fan | nr | 8
19.19.06 |  |  |  | Light switch 1gang, 1way | nr | 4
19.19.07 |  |  |  | 13A, switch type, single power outlet | nr | 10
19.19.08 |  |  |  | 15A, switch type, single power outlet | nr | 3
19.19.09 |  |  |  | Isolator 3 P | nr | 1
19.20.00 | AIR CONDITION AND VENTILATION
a. All the ACV equipment should be Anti corrosive
b. The minimum Energy efficient value for AC [EER] Should be 3.5 [KW/KW]
Rates shall include for complete installation of units
19.20.01 |  |  |  | Outdoor Unit 24KW-VRF | nr | 1
19.20.02 |  |  |  | 4 way cassette unit, 8KW | nr | 3
19.20.03 |  |  |  | Exhaust air Louver with bird screen, 150 x 150mm | nr | 3
19.20.04 |  |  |  | 100 x 100mm exhaust air duct, 25L/S, | item | 1
19.21.00 | FIRE FIGHTING SYSTEM
19.21.01 |  |  |  | 2Kg Carbondioxide fire Extinguishers | nr | 1
19.21.02 |  |  |  | 9Liters H2O fire Extinguishers | nr | 1
19.21.03 |  |  |  | Smoke detectors | nr | 3
19.21.04 |  |  |  | Manual call point | nr | 1
19.21.05 |  |  |  | Exist sign light | nr | 1
19.21.06 |  |  |  | Fire alarm sounder with strobe light 95DB | nr | 1
19.21.07 |  |  |  | Fire resistance cable | item | 1
19.22.00 |  |  |  | TOTAL OF BILL №: 19 - Carried Over To Summary
20.0.00 |  |  |  | Bill №: 20 - HINAVAAGE
20.1.00 | GENERAL
20.1.00 |  |  |  | Refer to above general notes
20.2.00 | EXCAVATION
20.2.01 |  |  |  | Excavation for Foundation raft | m3 | 17.97
20.3.00 | FILLING
19.3.01 |  |  |  | Compacted earth filling under ground screed. | m2 | 63.6225
19.3.02 |  |  |  | Compacted coarse aggregate layer under foundation | m2 | 63.6225
19.3.03 |  |  |  | 50mm thick sand blinding below ground slab | m2 | 63.6225
19.4.00 | DAMP-PROOF MEMBRANE
19.4.01 |  |  |  | Water Proof Membrane - DPM | m2 | 14.3775
19.4.02 |  |  |  | Bituminous coating | m2 | 55.365
19.5.00 | MASS CONCRETE
19.5.01 |  |  | 50 | mm Lean Concrete (Foundations) | m3 | 0.72
19.6.00 | REINFORCED INSITU CONCRETE
FOUNDATION
19.6.01 | 950 | x | 950 | x 300mm Foundation pads, F5 | m3 | 1.6275
19.6.02 | 350 | x | 225 | mm Foundation beam, TB2 | m3 | 3.1425
19.6.03 | 275 | x | 275 | mm Concrete columns C4 | m3 | 0.57
19.6.04 |  |  |  | 12mm x 6m length | t | 0.255
19.6.05 |  |  |  | 16mm x 6m length | t | 0.255
19.6.06 |  |  |  | 6mm x 6m length | t | 0.075
GROUND FLOOR
19.6.07 |  |  | 100 | mm thk Ground Slab | m3 | 6.81
19.6.08 | 275 | x | 275 | mm Concrete columns C4 | m3 | 0.57
19.6.09 | 350 | x | 200 | mm Roof Beam B1 | m3 | 0.0825
19.6.10 | 375 | x | 200 | mm Roof Beam B2 | m3 | 0.06
19.6.11 |  |  |  | 6mm x 6m length | t | 0.0975
19.6.12 |  |  |  | 12mm x 6m length | t | 0.3375
19.7.00 | BRICK WORK
150mm thick external wall
19.7.01 |  |  |  | GROUND FLOOR | m2 | 104.79
19.8.00 | PLASTERING
20mm thk cement plaster on external surface
19.8.01 |  |  |  | GROUND FLOOR | m2 | 101.025
16mm thk cement plaster on internal surface
19.8.02 |  |  |  | GROUND FLOOR | m2 | 90.5025
19.9.00 | CEMENT SCREED
19.9.01 |  |  |  | 50mm thk cement screed waterproofed with SIKA product or equivalent | m2 | 63.6225
19.10.00 | GI ROOF FRAMING
GI pipe truss, including welding, bolting, washers and fixing to reinforced concrete as shown in the drawing.
19.10.01 |  |  |  | Truss (span 7.3m) - TR 3 | no | 2.25
50x100mm C purlin, including welding to truss, bolting, washers and fixing to positing as shown in the drawing.
19.10.02 |  |  |  | C Purlins | m | 97.5
19.11.00 | CEILING
19.11.01 |  |  |  | False flat ceiling with 6mm thick gypsum board under 50x50mm ceiling joist as per drawing. | m2 | 63.6225
19.12.00 | WINDOWS / DOORS
19.12.01 | 1000 | x | 1500 | W4 - Aluminium window | nr | 4.5
19.12.02 | 1000 | x | 2450 | W5 - Aluminium window | nr | 3.75
19.12.03 | 1200 | x | 2800 | D6 - Aluminium frame door | nr | 0.75
19.13.00 | PAINTING
19.13.01 |  |  |  | Exterior grade wall paint finish - P2 | m2 | 101.025
19.13.02 |  |  |  | Interior grade wall paint finish - P1 | m2 | 90.5025
19.13.03 |  |  |  | Gypsum board ceiling paint finish - P1 | m2 | 63.6225
19.14.00 | TILING
19.14.01 |  |  |  | 600 x 600mm homogeneous textured floor tile - T2 | m2 | 63.6225
19.15.00 | ROOF COVERING
19.15.01 |  |  |  | BHP Lysaght Trimdek Hi-Ten or equivalent roofing sheet, over C purlin frame including all fixings, fixed in accordance with manufacturer's instructions. | m² | 75.375
19.15.02 |  |  |  | 50mm mineral wool insulation inbetween purlins and PVC net to hold the insulation | m² | 75.375
19.16.00 | CAPPING
19.16.01 |  |  |  | Lysaght ridge Flashing as per drawing | m | 10.05
19.16.02 |  |  |  | Lysaght Flashing as per drawing | m | 11.25
19.17.00 | GUTTER
19.17.01 |  |  |  | Zinc gutter 150 x 150mm with gutter strap fixed to purlins | m | 10
19.18.00 | DRAIN PIPE
19.18.01 |  |  |  | 100mm dia. Drain pipe with wiremesh gutter strainer | m | 6.75
19.19.00 | ELECTRICAL
19.19.01 |  |  |  | Light, Power & AC Distribution Board | nr | 0.75
19.19.02 |  |  |  | Wiring To Lights, Fittings socket | pt | 33
19.19.03 |  |  | LF05 | 17W,230V,4000K, wall light, IP55 | nr | 3
19.19.04 |  |  | LF25 | 18W,230V,3000K, ceiling mounted recessed light | nr | 12
19.19.05 |  |  |  | Ceiling mounted fan | nr | 6
19.19.06 |  |  |  | Light switch 1gang, 1way | nr | 3
19.19.07 |  |  |  | 13A, switch type, single power outlet | nr | 8
19.19.08 |  |  |  | 15A, switch type, single power outlet | nr | 3
19.19.09 |  |  |  | Isolator 3 P | nr | 1
19.21.00 | FIRE FIGHTING SYSTEM
19.21.01 |  |  |  | 2Kg Carbondioxide fire Extinguishers | nr | 1
19.21.02 |  |  |  | 9Liters H2O fire Extinguishers | nr | 1
19.21.03 |  |  |  | Smoke detectors | nr | 3
19.21.04 |  |  |  | Manual call point | nr | 1
19.21.05 |  |  |  | Exist sign light | nr | 1
19.21.06 |  |  |  | Fire alarm sounder with strobe light 95DB | nr | 1
19.21.07 |  |  |  | Fire resistance cable | item | 1
19.22 | CONCRETE BED
19.21.01 |  |  |  | CONCRETE BED | nr | 1
19.22.00 |  |  |  | TOTAL OF BILL №: 19 - Carried Over To Summary
21.0.00 |  |  |  | Bill №: 21 - ADDITIONS AND OMMISIONS
21.1.00 | ADDITIONS
21.1.01 |  |  |  | Bill №: 01 - PRELIMINARIES
21.1.02 |  |  |  | Bill №: 02 - EXCAVATION AND FILLING
21.1.03 |  |  |  | Bill №: 03 - INSITU CONCRETE WORKS
21.1.04 |  |  |  | Bill №: 04 - MASONRY
21.1.05 |  |  |  | Bill №: 05 - STRUCTURAL METAL WORKS
21.1.06 |  |  |  | Bill №: 06 - CARPENTRY
21.1.07 |  |  |  | Bill №: 07 - CEILING
21.1.08 |  |  |  | Bill №: 08 - WINDOWS, SCREENS & LIGHTS
21.1.09 |  |  |  | Bill №: 09 - DOORS, SHUTTERS & HATCHES
21.1.10 |  |  |  | Bill №: 10 - DECORATIONS
21.1.11 |  |  |  | Bill №: 11 - FINISHES
21.1.12 |  |  |  | Bill №: 12- ROOFING
21.1.13 |  |  |  | Bill №: 13 - HYDRAULICS AND DRAINAGE
21.1.14 |  |  |  | Bill №: 14 - ELECTRICAL INSTALLATIONS
21.1.15 |  |  |  | Bill №: 15- INSULATION, FIRE STOPPING & FIRE PROTECTION
21.1.16 |  |  |  | Bill №: 16 - SOLAR PANEL
21.1.17 |  |  |  | Bill №: 17 - MINARET
21.1.18 |  |  |  | Bill №: 18 - BOUNDARY WALL
21.1.19 |  |  |  | Bill №: 19 - LIBRARY
21.1.20 |  |  |  | Bill №: 20 - HINAVAAGE
TOTAL
20.2.00 | OMISSIONS
20.2.01 |  |  |  | Bill №: 01 - PRELIMINARIES
20.2.02 |  |  |  | Bill №: 02 - EXCAVATION AND FILLING
20.2.03 |  |  |  | Bill №: 03 - INSITU CONCRETE WORKS
20.2.04 |  |  |  | Bill №: 04 - MASONRY
20.2.05 |  |  |  | Bill №: 05 - STRUCTURAL METAL WORKS
20.2.06 |  |  |  | Bill №: 06 - CARPENTRY
20.2.07 |  |  |  | Bill №: 07 - CEILING
20.2.08 |  |  |  | Bill №: 08 - WINDOWS, SCREENS & LIGHTS
20.2.09 |  |  |  | Bill №: 09 - DOORS, SHUTTERS & HATCHES
20.2.10 |  |  |  | Bill №: 10 - DECORATIONS
20.2.11 |  |  |  | Bill №: 11 - FINISHES
20.2.12 |  |  |  | Bill №: 12- ROOFING
20.2.13 |  |  |  | Bill №: 13 - HYDRAULICS AND DRAINAGE
20.2.14 |  |  |  | Bill №: 14 - ELECTRICAL INSTALLATIONS
20.2.15 |  |  |  | Bill №: 15- INSULATION, FIRE STOPPING & FIRE PROTECTION
20.2.16 |  |  |  | Bill №: 16 - SOLAR PANEL
20.2.17 |  |  |  | Bill №: 17 - MINARET
20.2.18 |  |  |  | Bill №: 18 - BOUNDARY WALL
20.2.19 |  |  |  | Bill №: 19 - LIBRARY
TOTAL
20.3.00 |  |  |  | TOTAL OF BILL №: 20 - Carried Over To Summary